## Covid-19 CSS_plate 7_20210513_0
Program | xPONENT |  | MAGPIX
Build | 4.3.229.0
Date | 2021-05-13 | 3:15
SN | MAGPX20092722
Batch | Covid-19 CSS_plate 7
Version | 1
Operator
ComputerName | DESKTOP-NCR2RPU
Country Code | 7F
ProtocolName | Covid-19 Seroprevalence 2021
ProtocolVersion | 1
ProtocolDescription
ProtocolDevelopingCompany
SampleWash | On
SampleVolume | 50 uL
BatchStartTime | 2021-05-13 03:16
BatchStopTime | 2021-05-13 04:22
BatchDescription | <None>
ProtocolPlate | Name | Current 96-well plate | Type | 96 | Plates | 1
ProtocolMicrosphere | Map | BP 50 regions | Type | MagPlex | Count | 11
ProtocolAnalysis | Type | Quan | Mode | FitOfAllStandards
NormBead | None
ProtocolHeater | Off
Most Recent Calibration and Verification Results:
Last CAL Calibration | Passed 05/13/2021 03:11:45
Last VER Verification | Passed 05/13/2021 03:12:47
Last Fluidics Test | Passed 05/13/2021 03:14:07
CALInfo:
Calibrator
Lot | ExpirationDate | CalibrationTime | CL1Temp | CL2Temp | RP1LongTemp | RP1ShortTemp | CL1Current | CL2Current | RP1LongCurrent | RP1ShortCurrent | CL1Factor | CL2Factor | RP1LongFactor | RP1ShortFactor | Result | MachineSerialNo
B75277 | 2021-06-25 | 2021-05-13 03:12 | 28.4 | 28.4 | 28.4 | 28.4 | 233 | 242 | 316 | 316 | 0.007 | 0.00698 | 0.00394 | 0.11641 | Pass | MAGPX20092722
AssayLotInfo:
KitName | LotNumber | ExpirationDate | Manufacturer
Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Reagent | LotName | LotNumber | ExpirationDate | Manufacturer
Standard1 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Standard10 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Standard2 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Standard3 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Standard4 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Standard5 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Standard6 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Standard7 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Standard8 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Standard9 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Control1 | Anti-covid-19 Ab | B20211 | 2022-01-01 | NIBSC
Samples | 95 | Min Events | 50 | Per Bead
Results
DataType: | Median
Location | Sample | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78 | Total Events
1(1,A1) | Blank1 | 12 | 11.5 | 88.5 | 59 | 8 | 14 | 9 | 16 | 14 | 17 | 14 | 1837
2(1,A2) | Unknown | 1838 | 4027 | 182 | 156 | 225 | 118.5 | 138 | 542 | 1080 | 1481 | 1611 | 1278
3(1,A3) | S1 | 730.5 | 6850.5 | 6511 | 5573 | 13597 | 7508 | 13186 | 319 | 7242 | 4176 | 9686 | 1161
4(1,A4) | S2 | 382 | 3948.5 | 3962 | 3805 | 11062 | 4946 | 9244.5 | 156 | 5477 | 2015 | 6141 | 1020
5(1,A5) | S3 | 206.5 | 2414 | 2369.5 | 2286 | 9784.5 | 3492.5 | 6864 | 88 | 4394.5 | 1156 | 4039 | 1112
6(1,A6) | S4 | 108 | 1298 | 1329 | 1427 | 8425 | 1886 | 4290 | 54 | 2675 | 586.5 | 2092.5 | 1087
7(1,A7) | S5 | 59 | 659 | 747 | 820 | 6100.5 | 1061 | 2255 | 34 | 1608 | 312 | 1137.5 | 1244
8(1,A8) | S6 | 36 | 358 | 432 | 491 | 3848.5 | 498 | 1237.5 | 26 | 974 | 163 | 610 | 1151
9(1,A9) | S7 | 24 | 173 | 248 | 292 | 2303 | 266 | 642.5 | 22.5 | 569 | 90 | 326 | 1233
10(1,A10) | S8 | 18 | 98 | 166 | 166.5 | 1207.5 | 128.5 | 309 | 17 | 300 | 51 | 160.5 | 1088
11(1,A11) | S9 | 17 | 58 | 126 | 116 | 661 | 72.5 | 146 | 18.5 | 149 | 36 | 88 | 1238
12(1,A12) | S10 | 14.5 | 35.5 | 106 | 87 | 310 | 42 | 73 | 17 | 81 | 25 | 50 | 1000
13(1,B1) | Blank2 | 12 | 12 | 91 | 55.5 | 8 | 14 | 9 | 15 | 14 | 17.5 | 14 | 1714
14(1,B2) | Unknown1 | 168 | 567 | 123 | 107 | 52 | 50 | 37 | 377.5 | 522 | 234.5 | 333.5 | 1460
15(1,B3) | Unknown2 | 68.5 | 437 | 112 | 116 | 65 | 61.5 | 36 | 518.5 | 177 | 186 | 217 | 1252
16(1,B4) | Unknown3 | 57 | 197 | 125 | 117 | 77 | 79.5 | 42 | 563 | 164 | 145 | 125 | 1428
17(1,B5) | Unknown4 | 124 | 332 | 119.5 | 101.5 | 67 | 59.5 | 36 | 498.5 | 272 | 423 | 626 | 1233
18(1,B6) | Unknown5 | 25 | 44.5 | 105.5 | 72 | 28 | 28 | 15 | 48 | 118 | 66 | 55 | 1244
19(1,B7) | Unknown6 | 58 | 38 | 100.5 | 70 | 24 | 26 | 14 | 40 | 131 | 60 | 194 | 1279
20(1,B8) | Unknown7 | 27 | 216 | 106 | 85 | 31 | 38 | 17.5 | 56 | 84 | 67.5 | 63 | 1013
21(1,B9) | Unknown8 | 89 | 133 | 94 | 67 | 24 | 25 | 19 | 40.5 | 101.5 | 176 | 105 | 1099
22(1,B10) | Unknown9 | 51 | 163 | 87 | 64 | 16 | 19 | 12 | 25 | 59.5 | 59 | 37 | 1186
23(1,B11) | Unknown10 | 23 | 30 | 91.5 | 60 | 16 | 21 | 11 | 33 | 38 | 30 | 60 | 896
24(1,B12) | Unknown11 | 34 | 172 | 91 | 63 | 18 | 21 | 12 | 48.5 | 24 | 40 | 31 | 847
25(1,C1) | Unknown12 | 63 | 36 | 109 | 77 | 24 | 29 | 16 | 39 | 43 | 62 | 158 | 2696
26(1,C2) | Unknown13 | 54 | 44 | 91.5 | 62 | 18 | 20 | 14 | 38 | 32 | 53 | 59 | 1329
27(1,C3) | Unknown14 | 57 | 163.5 | 103 | 68 | 22 | 28 | 15 | 48.5 | 146.5 | 72 | 50 | 1151
28(1,C4) | Unknown15 | 22 | 99.5 | 91 | 61 | 15 | 21 | 12 | 25 | 51 | 58 | 60 | 1405
29(1,C5) | Unknown16 | 91 | 353.5 | 98 | 64 | 18 | 24 | 14 | 32 | 131 | 78 | 53 | 1177
30(1,C6) | Unknown17 | 61 | 132 | 102 | 65 | 18 | 22.5 | 13 | 28 | 56 | 52 | 70 | 1122
31(1,C7) | Unknown18 | 109 | 94 | 95 | 67 | 17 | 26 | 14 | 35 | 63 | 33 | 57.5 | 1033
32(1,C8) | Unknown19 | 77 | 61 | 97 | 67 | 18 | 22 | 13 | 29 | 32 | 154 | 30 | 884
33(1,C9) | Unknown20 | 82 | 60 | 83.5 | 56 | 17 | 21 | 13 | 27 | 36 | 93 | 38.5 | 1193
34(1,C10) | Unknown21 | 29 | 21 | 87 | 65 | 18.5 | 21 | 12 | 64 | 119 | 102 | 381 | 957
35(1,C11) | Unknown22 | 61 | 109 | 90 | 60 | 17 | 23 | 14 | 51 | 67 | 109 | 61 | 976
36(1,C12) | Unknown23 | 51 | 66.5 | 86.5 | 63 | 773.5 | 29 | 16 | 44 | 236.5 | 50 | 127 | 679
37(1,D1) | Unknown24 | 50 | 55 | 89 | 70 | 35 | 33 | 21 | 53 | 76 | 94 | 49 | 3070
38(1,D2) | Unknown25 | 87 | 52 | 101 | 87 | 94.5 | 51 | 25 | 81 | 482 | 154 | 1885 | 1647
39(1,D3) | Unknown26 | 24 | 62 | 102 | 70 | 43 | 33 | 18 | 68 | 70 | 32 | 41 | 1292
40(1,D4) | Unknown27 | 40 | 72.5 | 97.5 | 66 | 29 | 26 | 28 | 39 | 102 | 71 | 140 | 1134
41(1,D5) | Unknown28 | 37 | 94 | 112 | 86.5 | 54 | 45.5 | 28 | 212 | 156.5 | 91 | 165.5 | 1061
42(1,D6) | Unknown29 | 33 | 361 | 92 | 66 | 19 | 25 | 15 | 37 | 58 | 48 | 72 | 1009
43(1,D7) | Unknown30 | 68 | 224 | 95.5 | 70 | 21 | 25 | 14 | 48 | 52 | 62 | 91 | 1039
44(1,D8) | Unknown31 | 208 | 132 | 111 | 83 | 623 | 47 | 25 | 120 | 116 | 80 | 55.5 | 1083
45(1,D9) | Unknown32 | 42 | 36.5 | 89 | 77.5 | 55 | 29.5 | 20 | 95.5 | 67 | 48 | 51 | 1037
46(1,D10) | Unknown33 | 287 | 29 | 88 | 65 | 33 | 28 | 17 | 450 | 222 | 46 | 339 | 748
47(1,D11) | Unknown34 | 121.5 | 124 | 103 | 79 | 589 | 49 | 29 | 106 | 102 | 149 | 138.5 | 927
48(1,D12) | Unknown35 | 39 | 109 | 88 | 55.5 | 18.5 | 21.5 | 12.5 | 102 | 117 | 86 | 39.5 | 552
49(1,E1) | Unknown36 | 32 | 34 | 112 | 84 | 203 | 28 | 15 | 68 | 94.5 | 47 | 49 | 2627
50(1,E2) | Unknown37 | 159 | 635 | 113 | 76 | 29 | 31 | 19 | 138 | 77 | 33 | 102 | 1309
51(1,E3) | Unknown38 | 26 | 116 | 103 | 64 | 29 | 24 | 14 | 37 | 58 | 86 | 153 | 1223
52(1,E4) | Unknown39 | 277.5 | 69 | 97 | 74 | 41 | 38.5 | 22 | 81.5 | 198 | 98 | 430.5 | 1186
53(1,E5) | Unknown40 | 65 | 47 | 108 | 74 | 40 | 42.5 | 25.5 | 86 | 106 | 159 | 211 | 1035
54(1,E6) | Unknown41 | 52 | 98 | 100 | 70 | 24 | 28 | 16.5 | 48 | 72 | 65 | 165 | 1105
55(1,E7) | Unknown42 | 49 | 43 | 96 | 67 | 20 | 25 | 14 | 39 | 40 | 43 | 42 | 1182
56(1,E8) | Unknown43 | 40.5 | 36.5 | 100 | 78 | 31 | 28 | 18 | 52 | 105 | 155 | 89 | 768
57(1,E9) | Unknown44 | 87 | 397 | 89 | 60 | 27.5 | 23 | 12.5 | 39 | 139 | 78 | 121 | 1097
58(1,E10) | Unknown45 | 37.5 | 80 | 90 | 60 | 23 | 26 | 15 | 70 | 70 | 93.5 | 143 | 830
59(1,E11) | Unknown46 | 60 | 73.5 | 82.5 | 61.5 | 24 | 28 | 17 | 57 | 57 | 113 | 56 | 895
60(1,E12) | Unknown47 | 48.5 | 129 | 86 | 60 | 95 | 25 | 12 | 42 | 63 | 30 | 47 | 506
61(1,F1) | Unknown48 | 112 | 94 | 98 | 70 | 33 | 29 | 16 | 50 | 55 | 25 | 25 | 2475
62(1,F2) | Unknown49 | 110 | 67 | 105 | 81 | 52 | 41 | 29 | 94 | 64 | 60 | 40 | 1271
63(1,F3) | Unknown50 | 87 | 180 | 97 | 68 | 23 | 33.5 | 16 | 54 | 62 | 27 | 177 | 1181
64(1,F4) | Unknown51 | 59 | 28 | 90 | 61.5 | 19 | 24 | 13 | 41.5 | 47 | 37 | 66 | 1140
65(1,F5) | Unknown52 | 55 | 587.5 | 92.5 | 69 | 31 | 28 | 16 | 52 | 108 | 98 | 115 | 1201
66(1,F6) | Unknown53 | 54 | 395 | 102 | 62.5 | 24.5 | 28 | 14 | 50 | 91 | 114.5 | 49 | 1216
67(1,F7) | Unknown54 | 41 | 208.5 | 100 | 65 | 30 | 29 | 16 | 71 | 69.5 | 94 | 115 | 1030
68(1,F8) | Unknown55 | 188 | 41 | 93 | 58 | 30 | 22 | 15 | 33 | 87 | 61 | 124 | 1002
69(1,F9) | Unknown56 | 23 | 31 | 77.5 | 59 | 16 | 20.5 | 12 | 36 | 54 | 39 | 57.5 | 911
70(1,F10) | Unknown57 | 42 | 26 | 89 | 57 | 20 | 23 | 15 | 37.5 | 70 | 55 | 76 | 923
71(1,F11) | Unknown58 | 47 | 96 | 91 | 61 | 25 | 26 | 14.5 | 47 | 81 | 91 | 40 | 782
72(1,F12) | Unknown59 | 26 | 47 | 90.5 | 59.5 | 20 | 23 | 14 | 38 | 63 | 69 | 50 | 447
73(1,G1) | Unknown60 | 31 | 32 | 105 | 70 | 28 | 27 | 15 | 45 | 42 | 33 | 33 | 1786
74(1,G2) | Unknown61 | 48 | 80 | 107 | 74 | 23.5 | 26 | 15 | 42 | 69 | 46 | 172 | 1225
75(1,G3) | Unknown62 | 55 | 240 | 94 | 69 | 23.5 | 28 | 16 | 58 | 253.5 | 81 | 157.5 | 1176
76(1,G4) | Unknown63 | 177 | 49 | 87 | 61 | 20 | 26 | 14 | 45 | 102 | 155 | 207 | 1093
77(1,G5) | Unknown64 | 65 | 49.5 | 87.5 | 61.5 | 32 | 28 | 16 | 51 | 50 | 32 | 33 | 1091
78(1,G6) | Unknown65 | 66 | 64.5 | 98 | 62.5 | 18 | 22 | 12 | 40 | 36 | 49 | 51 | 1048
79(1,G7) | Unknown66 | 128 | 328 | 86.5 | 65 | 22 | 28 | 14.5 | 79.5 | 65 | 177 | 177.5 | 961
80(1,G8) | Unknown67 | 55.5 | 78.5 | 94.5 | 64 | 25 | 27 | 15 | 54 | 46 | 27 | 51.5 | 1006
81(1,G9) | Unknown68 | 47 | 99 | 87 | 57 | 18 | 23 | 12 | 35 | 84.5 | 67 | 106 | 1007
82(1,G10) | Unknown69 | 64 | 77 | 105 | 81 | 33 | 45 | 23 | 59 | 70 | 63 | 85 | 990
83(1,G11) | Unknown70 | 28 | 66.5 | 90.5 | 61 | 108 | 28 | 14.5 | 60 | 67 | 91 | 88 | 744
84(1,G12) | Unknown71 | 27 | 28 | 93 | 60 | 23 | 26 | 15 | 62.5 | 48 | 87 | 78 | 778
85(1,H1) | Unknown72 | 62 | 22 | 100 | 72 | 41 | 24 | 14 | 308 | 78 | 123 | 125 | 1990
86(1,H2) | Unknown73 | 42 | 43 | 95 | 64 | 18 | 20 | 12 | 28.5 | 82.5 | 44.5 | 90.5 | 1157
87(1,H3) | Unknown74 | 94 | 187 | 95 | 63 | 1166 | 23 | 15 | 54 | 126 | 95 | 118.5 | 1142
88(1,H4) | Unknown75 | 61 | 68 | 86 | 60 | 21 | 21 | 17 | 78 | 79 | 193 | 80 | 1120
89(1,H5) | Unknown76 | 23 | 83.5 | 90.5 | 61 | 14 | 22 | 12 | 93 | 49 | 135 | 68 | 1258
90(1,H6) | Unknown77 | 44 | 36.5 | 93 | 59.5 | 22 | 26 | 14 | 59 | 93 | 141 | 229 | 1178
91(1,H7) | Unknown78 | 147 | 131 | 88 | 59 | 26 | 22 | 12 | 32 | 44 | 39 | 39 | 1058
92(1,H8) | Unknown79 | 51 | 162.5 | 85 | 58.5 | 22 | 26.5 | 15 | 46 | 55 | 66 | 58 | 1011
93(1,H9) | Unknown80 | 25 | 110 | 82 | 50.5 | 13 | 18 | 11 | 41 | 49.5 | 37 | 26 | 979
94(1,H10) | Unknown81 | 37 | 33 | 91 | 57.5 | 14 | 19 | 12 | 31 | 37 | 58 | 49 | 1245
95(1,H11) | Unknown82 | 28 | 145 | 86 | 58.5 | 38 | 22 | 12 | 34 | 37 | 62 | 46 | 968
96(1,H12) | Unknown83 | 33 | 298 | 84.5 | 54.5 | 17 | 21 | 12 | 30 | 32 | 57 | 41 | 795
DataType: | Net MFI
Location | Sample | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78 | Total Events
1(1,A1) | Blank1 | 0 | -0.25 | -1.25 | 1.75 | 0 | 0 | 0 | 0.5 | 0 | -0.25 | 0 | 1837
2(1,A2) | Unknown | 1826 | 4015.25 | 92.25 | 98.75 | 217 | 104.5 | 129 | 526.5 | 1066 | 1463.75 | 1597 | 1278
3(1,A3) | S1 | 718.5 | 6838.75 | 6421.25 | 5515.75 | 13589 | 7494 | 13177 | 303.5 | 7228 | 4158.75 | 9672 | 1161
4(1,A4) | S2 | 370 | 3936.75 | 3872.25 | 3747.75 | 11054 | 4932 | 9235.5 | 140.5 | 5463 | 1997.75 | 6127 | 1020
5(1,A5) | S3 | 194.5 | 2402.25 | 2279.75 | 2228.75 | 9776.5 | 3478.5 | 6855 | 72.5 | 4380.5 | 1138.75 | 4025 | 1112
6(1,A6) | S4 | 96 | 1286.25 | 1239.25 | 1369.75 | 8417 | 1872 | 4281 | 38.5 | 2661 | 569.25 | 2078.5 | 1087
7(1,A7) | S5 | 47 | 647.25 | 657.25 | 762.75 | 6092.5 | 1047 | 2246 | 18.5 | 1594 | 294.75 | 1123.5 | 1244
8(1,A8) | S6 | 24 | 346.25 | 342.25 | 433.75 | 3840.5 | 484 | 1228.5 | 10.5 | 960 | 145.75 | 596 | 1151
9(1,A9) | S7 | 12 | 161.25 | 158.25 | 234.75 | 2295 | 252 | 633.5 | 7 | 555 | 72.75 | 312 | 1233
10(1,A10) | S8 | 6 | 86.25 | 76.25 | 109.25 | 1199.5 | 114.5 | 300 | 1.5 | 286 | 33.75 | 146.5 | 1088
11(1,A11) | S9 | 5 | 46.25 | 36.25 | 58.75 | 653 | 58.5 | 137 | 3 | 135 | 18.75 | 74 | 1238
12(1,A12) | S10 | 2.5 | 23.75 | 16.25 | 29.75 | 302 | 28 | 64 | 1.5 | 67 | 7.75 | 36 | 1000
13(1,B1) | Blank2 | 0 | 0.25 | 1.25 | -1.75 | 0 | 0 | 0 | -0.5 | 0 | 0.25 | 0 | 1714
14(1,B2) | Unknown1 | 156 | 555.25 | 33.25 | 49.75 | 44 | 36 | 28 | 362 | 508 | 217.25 | 319.5 | 1460
15(1,B3) | Unknown2 | 56.5 | 425.25 | 22.25 | 58.75 | 57 | 47.5 | 27 | 503 | 163 | 168.75 | 203 | 1252
16(1,B4) | Unknown3 | 45 | 185.25 | 35.25 | 59.75 | 69 | 65.5 | 33 | 547.5 | 150 | 127.75 | 111 | 1428
17(1,B5) | Unknown4 | 112 | 320.25 | 29.75 | 44.25 | 59 | 45.5 | 27 | 483 | 258 | 405.75 | 612 | 1233
18(1,B6) | Unknown5 | 13 | 32.75 | 15.75 | 14.75 | 20 | 14 | 6 | 32.5 | 104 | 48.75 | 41 | 1244
19(1,B7) | Unknown6 | 46 | 26.25 | 10.75 | 12.75 | 16 | 12 | 5 | 24.5 | 117 | 42.75 | 180 | 1279
20(1,B8) | Unknown7 | 15 | 204.25 | 16.25 | 27.75 | 23 | 24 | 8.5 | 40.5 | 70 | 50.25 | 49 | 1013
21(1,B9) | Unknown8 | 77 | 121.25 | 4.25 | 9.75 | 16 | 11 | 10 | 25 | 87.5 | 158.75 | 91 | 1099
22(1,B10) | Unknown9 | 39 | 151.25 | -2.75 | 6.75 | 8 | 5 | 3 | 9.5 | 45.5 | 41.75 | 23 | 1186
23(1,B11) | Unknown10 | 11 | 18.25 | 1.75 | 2.75 | 8 | 7 | 2 | 17.5 | 24 | 12.75 | 46 | 896
24(1,B12) | Unknown11 | 22 | 160.25 | 1.25 | 5.75 | 10 | 7 | 3 | 33 | 10 | 22.75 | 17 | 847
25(1,C1) | Unknown12 | 51 | 24.25 | 19.25 | 19.75 | 16 | 15 | 7 | 23.5 | 29 | 44.75 | 144 | 2696
26(1,C2) | Unknown13 | 42 | 32.25 | 1.75 | 4.75 | 10 | 6 | 5 | 22.5 | 18 | 35.75 | 45 | 1329
27(1,C3) | Unknown14 | 45 | 151.75 | 13.25 | 10.75 | 14 | 14 | 6 | 33 | 132.5 | 54.75 | 36 | 1151
28(1,C4) | Unknown15 | 10 | 87.75 | 1.25 | 3.75 | 7 | 7 | 3 | 9.5 | 37 | 40.75 | 46 | 1405
29(1,C5) | Unknown16 | 79 | 341.75 | 8.25 | 6.75 | 10 | 10 | 5 | 16.5 | 117 | 60.75 | 39 | 1177
30(1,C6) | Unknown17 | 49 | 120.25 | 12.25 | 7.75 | 10 | 8.5 | 4 | 12.5 | 42 | 34.75 | 56 | 1122
31(1,C7) | Unknown18 | 97 | 82.25 | 5.25 | 9.75 | 9 | 12 | 5 | 19.5 | 49 | 15.75 | 43.5 | 1033
32(1,C8) | Unknown19 | 65 | 49.25 | 7.25 | 9.75 | 10 | 8 | 4 | 13.5 | 18 | 136.75 | 16 | 884
33(1,C9) | Unknown20 | 70 | 48.25 | -6.25 | -1.25 | 9 | 7 | 4 | 11.5 | 22 | 75.75 | 24.5 | 1193
34(1,C10) | Unknown21 | 17 | 9.25 | -2.75 | 7.75 | 10.5 | 7 | 3 | 48.5 | 105 | 84.75 | 367 | 957
35(1,C11) | Unknown22 | 49 | 97.25 | 0.25 | 2.75 | 9 | 9 | 5 | 35.5 | 53 | 91.75 | 47 | 976
36(1,C12) | Unknown23 | 39 | 54.75 | -3.25 | 5.75 | 765.5 | 15 | 7 | 28.5 | 222.5 | 32.75 | 113 | 679
37(1,D1) | Unknown24 | 38 | 43.25 | -0.75 | 12.75 | 27 | 19 | 12 | 37.5 | 62 | 76.75 | 35 | 3070
38(1,D2) | Unknown25 | 75 | 40.25 | 11.25 | 29.75 | 86.5 | 37 | 16 | 65.5 | 468 | 136.75 | 1871 | 1647
39(1,D3) | Unknown26 | 12 | 50.25 | 12.25 | 12.75 | 35 | 19 | 9 | 52.5 | 56 | 14.75 | 27 | 1292
40(1,D4) | Unknown27 | 28 | 60.75 | 7.75 | 8.75 | 21 | 12 | 19 | 23.5 | 88 | 53.75 | 126 | 1134
41(1,D5) | Unknown28 | 25 | 82.25 | 22.25 | 29.25 | 46 | 31.5 | 19 | 196.5 | 142.5 | 73.75 | 151.5 | 1061
42(1,D6) | Unknown29 | 21 | 349.25 | 2.25 | 8.75 | 11 | 11 | 6 | 21.5 | 44 | 30.75 | 58 | 1009
43(1,D7) | Unknown30 | 56 | 212.25 | 5.75 | 12.75 | 13 | 11 | 5 | 32.5 | 38 | 44.75 | 77 | 1039
44(1,D8) | Unknown31 | 196 | 120.25 | 21.25 | 25.75 | 615 | 33 | 16 | 104.5 | 102 | 62.75 | 41.5 | 1083
45(1,D9) | Unknown32 | 30 | 24.75 | -0.75 | 20.25 | 47 | 15.5 | 11 | 80 | 53 | 30.75 | 37 | 1037
46(1,D10) | Unknown33 | 275 | 17.25 | -1.75 | 7.75 | 25 | 14 | 8 | 434.5 | 208 | 28.75 | 325 | 748
47(1,D11) | Unknown34 | 109.5 | 112.25 | 13.25 | 21.75 | 581 | 35 | 20 | 90.5 | 88 | 131.75 | 124.5 | 927
48(1,D12) | Unknown35 | 27 | 97.25 | -1.75 | -1.75 | 10.5 | 7.5 | 3.5 | 86.5 | 103 | 68.75 | 25.5 | 552
49(1,E1) | Unknown36 | 20 | 22.25 | 22.25 | 26.75 | 195 | 14 | 6 | 52.5 | 80.5 | 29.75 | 35 | 2627
50(1,E2) | Unknown37 | 147 | 623.25 | 23.25 | 18.75 | 21 | 17 | 10 | 122.5 | 63 | 15.75 | 88 | 1309
51(1,E3) | Unknown38 | 14 | 104.25 | 13.25 | 6.75 | 21 | 10 | 5 | 21.5 | 44 | 68.75 | 139 | 1223
52(1,E4) | Unknown39 | 265.5 | 57.25 | 7.25 | 16.75 | 33 | 24.5 | 13 | 66 | 184 | 80.75 | 416.5 | 1186
53(1,E5) | Unknown40 | 53 | 35.25 | 18.25 | 16.75 | 32 | 28.5 | 16.5 | 70.5 | 92 | 141.75 | 197 | 1035
54(1,E6) | Unknown41 | 40 | 86.25 | 10.25 | 12.75 | 16 | 14 | 7.5 | 32.5 | 58 | 47.75 | 151 | 1105
55(1,E7) | Unknown42 | 37 | 31.25 | 6.25 | 9.75 | 12 | 11 | 5 | 23.5 | 26 | 25.75 | 28 | 1182
56(1,E8) | Unknown43 | 28.5 | 24.75 | 10.25 | 20.75 | 23 | 14 | 9 | 36.5 | 91 | 137.75 | 75 | 768
57(1,E9) | Unknown44 | 75 | 385.25 | -0.75 | 2.75 | 19.5 | 9 | 3.5 | 23.5 | 125 | 60.75 | 107 | 1097
58(1,E10) | Unknown45 | 25.5 | 68.25 | 0.25 | 2.75 | 15 | 12 | 6 | 54.5 | 56 | 76.25 | 129 | 830
59(1,E11) | Unknown46 | 48 | 61.75 | -7.25 | 4.25 | 16 | 14 | 8 | 41.5 | 43 | 95.75 | 42 | 895
60(1,E12) | Unknown47 | 36.5 | 117.25 | -3.75 | 2.75 | 87 | 11 | 3 | 26.5 | 49 | 12.75 | 33 | 506
61(1,F1) | Unknown48 | 100 | 82.25 | 8.25 | 12.75 | 25 | 15 | 7 | 34.5 | 41 | 7.75 | 11 | 2475
62(1,F2) | Unknown49 | 98 | 55.25 | 15.25 | 23.75 | 44 | 27 | 20 | 78.5 | 50 | 42.75 | 26 | 1271
63(1,F3) | Unknown50 | 75 | 168.25 | 7.25 | 10.75 | 15 | 19.5 | 7 | 38.5 | 48 | 9.75 | 163 | 1181
64(1,F4) | Unknown51 | 47 | 16.25 | 0.25 | 4.25 | 11 | 10 | 4 | 26 | 33 | 19.75 | 52 | 1140
65(1,F5) | Unknown52 | 43 | 575.75 | 2.75 | 11.75 | 23 | 14 | 7 | 36.5 | 94 | 80.75 | 101 | 1201
66(1,F6) | Unknown53 | 42 | 383.25 | 12.25 | 5.25 | 16.5 | 14 | 5 | 34.5 | 77 | 97.25 | 35 | 1216
67(1,F7) | Unknown54 | 29 | 196.75 | 10.25 | 7.75 | 22 | 15 | 7 | 55.5 | 55.5 | 76.75 | 101 | 1030
68(1,F8) | Unknown55 | 176 | 29.25 | 3.25 | 0.75 | 22 | 8 | 6 | 17.5 | 73 | 43.75 | 110 | 1002
69(1,F9) | Unknown56 | 11 | 19.25 | -12.25 | 1.75 | 8 | 6.5 | 3 | 20.5 | 40 | 21.75 | 43.5 | 911
70(1,F10) | Unknown57 | 30 | 14.25 | -0.75 | -0.25 | 12 | 9 | 6 | 22 | 56 | 37.75 | 62 | 923
71(1,F11) | Unknown58 | 35 | 84.25 | 1.25 | 3.75 | 17 | 12 | 5.5 | 31.5 | 67 | 73.75 | 26 | 782
72(1,F12) | Unknown59 | 14 | 35.25 | 0.75 | 2.25 | 12 | 9 | 5 | 22.5 | 49 | 51.75 | 36 | 447
73(1,G1) | Unknown60 | 19 | 20.25 | 15.25 | 12.75 | 20 | 13 | 6 | 29.5 | 28 | 15.75 | 19 | 1786
74(1,G2) | Unknown61 | 36 | 68.25 | 17.25 | 16.75 | 15.5 | 12 | 6 | 26.5 | 55 | 28.75 | 158 | 1225
75(1,G3) | Unknown62 | 43 | 228.25 | 4.25 | 11.75 | 15.5 | 14 | 7 | 42.5 | 239.5 | 63.75 | 143.5 | 1176
76(1,G4) | Unknown63 | 165 | 37.25 | -2.75 | 3.75 | 12 | 12 | 5 | 29.5 | 88 | 137.75 | 193 | 1093
77(1,G5) | Unknown64 | 53 | 37.75 | -2.25 | 4.25 | 24 | 14 | 7 | 35.5 | 36 | 14.75 | 19 | 1091
78(1,G6) | Unknown65 | 54 | 52.75 | 8.25 | 5.25 | 10 | 8 | 3 | 24.5 | 22 | 31.75 | 37 | 1048
79(1,G7) | Unknown66 | 116 | 316.25 | -3.25 | 7.75 | 14 | 14 | 5.5 | 64 | 51 | 159.75 | 163.5 | 961
80(1,G8) | Unknown67 | 43.5 | 66.75 | 4.75 | 6.75 | 17 | 13 | 6 | 38.5 | 32 | 9.75 | 37.5 | 1006
81(1,G9) | Unknown68 | 35 | 87.25 | -2.75 | -0.25 | 10 | 9 | 3 | 19.5 | 70.5 | 49.75 | 92 | 1007
82(1,G10) | Unknown69 | 52 | 65.25 | 15.25 | 23.75 | 25 | 31 | 14 | 43.5 | 56 | 45.75 | 71 | 990
83(1,G11) | Unknown70 | 16 | 54.75 | 0.75 | 3.75 | 100 | 14 | 5.5 | 44.5 | 53 | 73.75 | 74 | 744
84(1,G12) | Unknown71 | 15 | 16.25 | 3.25 | 2.75 | 15 | 12 | 6 | 47 | 34 | 69.75 | 64 | 778
85(1,H1) | Unknown72 | 50 | 10.25 | 10.25 | 14.75 | 33 | 10 | 5 | 292.5 | 64 | 105.75 | 111 | 1990
86(1,H2) | Unknown73 | 30 | 31.25 | 5.25 | 6.75 | 10 | 6 | 3 | 13 | 68.5 | 27.25 | 76.5 | 1157
87(1,H3) | Unknown74 | 82 | 175.25 | 5.25 | 5.75 | 1158 | 9 | 6 | 38.5 | 112 | 77.75 | 104.5 | 1142
88(1,H4) | Unknown75 | 49 | 56.25 | -3.75 | 2.75 | 13 | 7 | 8 | 62.5 | 65 | 175.75 | 66 | 1120
89(1,H5) | Unknown76 | 11 | 71.75 | 0.75 | 3.75 | 6 | 8 | 3 | 77.5 | 35 | 117.75 | 54 | 1258
90(1,H6) | Unknown77 | 32 | 24.75 | 3.25 | 2.25 | 14 | 12 | 5 | 43.5 | 79 | 123.75 | 215 | 1178
91(1,H7) | Unknown78 | 135 | 119.25 | -1.75 | 1.75 | 18 | 8 | 3 | 16.5 | 30 | 21.75 | 25 | 1058
92(1,H8) | Unknown79 | 39 | 150.75 | -4.75 | 1.25 | 14 | 12.5 | 6 | 30.5 | 41 | 48.75 | 44 | 1011
93(1,H9) | Unknown80 | 13 | 98.25 | -7.75 | -6.75 | 5 | 4 | 2 | 25.5 | 35.5 | 19.75 | 12 | 979
94(1,H10) | Unknown81 | 25 | 21.25 | 1.25 | 0.25 | 6 | 5 | 3 | 15.5 | 23 | 40.75 | 35 | 1245
95(1,H11) | Unknown82 | 16 | 133.25 | -3.75 | 1.25 | 30 | 8 | 3 | 18.5 | 23 | 44.75 | 32 | 968
96(1,H12) | Unknown83 | 21 | 286.25 | -5.25 | -2.75 | 9 | 7 | 3 | 14.5 | 18 | 39.75 | 27 | 795
DataType: | Count
Location | Sample | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78 | Total Events
1(1,A1) | Blank1 | 229 | 146 | 120 | 153 | 234 | 134 | 192 | 165 | 229 | 154 | 81 | 1837
2(1,A2) | Unknown | 161 | 122 | 82 | 92 | 141 | 102 | 133 | 123 | 134 | 117 | 71 | 1278
3(1,A3) | S1 | 146 | 110 | 76 | 77 | 135 | 75 | 130 | 94 | 144 | 103 | 71 | 1161
4(1,A4) | S2 | 115 | 96 | 61 | 59 | 127 | 63 | 120 | 91 | 131 | 90 | 67 | 1020
5(1,A5) | S3 | 132 | 96 | 74 | 73 | 152 | 80 | 113 | 85 | 138 | 89 | 80 | 1112
6(1,A6) | S4 | 109 | 95 | 79 | 80 | 132 | 77 | 111 | 83 | 137 | 118 | 66 | 1087
7(1,A7) | S5 | 154 | 113 | 81 | 84 | 158 | 83 | 126 | 131 | 144 | 102 | 68 | 1244
8(1,A8) | S6 | 139 | 105 | 93 | 81 | 120 | 77 | 110 | 121 | 107 | 121 | 77 | 1151
9(1,A9) | S7 | 152 | 91 | 80 | 80 | 148 | 86 | 130 | 102 | 145 | 141 | 78 | 1233
10(1,A10) | S8 | 135 | 102 | 81 | 68 | 132 | 74 | 106 | 86 | 134 | 98 | 72 | 1088
11(1,A11) | S9 | 139 | 107 | 95 | 96 | 161 | 102 | 125 | 86 | 135 | 116 | 76 | 1238
12(1,A12) | S10 | 118 | 56 | 79 | 76 | 115 | 77 | 99 | 83 | 124 | 108 | 65 | 1000
13(1,B1) | Blank2 | 253 | 131 | 100 | 102 | 225 | 119 | 186 | 138 | 222 | 142 | 96 | 1714
14(1,B2) | Unknown1 | 161 | 118 | 94 | 117 | 180 | 97 | 171 | 138 | 154 | 138 | 92 | 1460
15(1,B3) | Unknown2 | 194 | 101 | 77 | 85 | 152 | 82 | 136 | 98 | 125 | 123 | 79 | 1252
16(1,B4) | Unknown3 | 174 | 125 | 81 | 89 | 190 | 94 | 149 | 147 | 161 | 139 | 79 | 1428
17(1,B5) | Unknown4 | 142 | 98 | 90 | 92 | 163 | 106 | 115 | 120 | 130 | 110 | 67 | 1233
18(1,B6) | Unknown5 | 141 | 112 | 80 | 67 | 147 | 74 | 145 | 111 | 136 | 138 | 93 | 1244
19(1,B7) | Unknown6 | 137 | 119 | 100 | 110 | 147 | 72 | 136 | 129 | 136 | 126 | 67 | 1279
20(1,B8) | Unknown7 | 125 | 74 | 66 | 77 | 121 | 79 | 106 | 93 | 124 | 88 | 60 | 1013
21(1,B9) | Unknown8 | 150 | 85 | 57 | 78 | 155 | 93 | 108 | 104 | 120 | 91 | 58 | 1099
22(1,B10) | Unknown9 | 126 | 96 | 71 | 78 | 153 | 94 | 125 | 121 | 124 | 115 | 83 | 1186
23(1,B11) | Unknown10 | 105 | 67 | 68 | 74 | 108 | 72 | 90 | 76 | 94 | 94 | 48 | 896
24(1,B12) | Unknown11 | 102 | 66 | 51 | 51 | 97 | 54 | 79 | 90 | 114 | 81 | 62 | 847
25(1,C1) | Unknown12 | 383 | 183 | 203 | 208 | 322 | 184 | 264 | 242 | 306 | 239 | 162 | 2696
26(1,C2) | Unknown13 | 162 | 119 | 84 | 111 | 145 | 107 | 138 | 117 | 144 | 112 | 90 | 1329
27(1,C3) | Unknown14 | 164 | 92 | 63 | 89 | 146 | 94 | 121 | 90 | 120 | 107 | 65 | 1151
28(1,C4) | Unknown15 | 148 | 106 | 95 | 93 | 164 | 114 | 136 | 134 | 177 | 147 | 91 | 1405
29(1,C5) | Unknown16 | 138 | 94 | 85 | 91 | 141 | 90 | 113 | 111 | 136 | 108 | 70 | 1177
30(1,C6) | Unknown17 | 129 | 73 | 77 | 87 | 124 | 92 | 121 | 111 | 127 | 121 | 60 | 1122
31(1,C7) | Unknown18 | 121 | 89 | 65 | 77 | 126 | 103 | 94 | 82 | 140 | 86 | 50 | 1033
32(1,C8) | Unknown19 | 95 | 78 | 58 | 61 | 103 | 67 | 82 | 73 | 126 | 93 | 48 | 884
33(1,C9) | Unknown20 | 137 | 100 | 82 | 79 | 144 | 80 | 125 | 126 | 141 | 113 | 66 | 1193
34(1,C10) | Unknown21 | 115 | 83 | 74 | 65 | 98 | 79 | 95 | 94 | 112 | 85 | 57 | 957
35(1,C11) | Unknown22 | 124 | 80 | 65 | 75 | 123 | 82 | 98 | 97 | 102 | 77 | 53 | 976
36(1,C12) | Unknown23 | 84 | 72 | 50 | 41 | 88 | 47 | 74 | 57 | 74 | 55 | 37 | 679
37(1,D1) | Unknown24 | 376 | 218 | 191 | 243 | 377 | 229 | 299 | 295 | 335 | 319 | 188 | 3070
38(1,D2) | Unknown25 | 193 | 127 | 101 | 123 | 216 | 127 | 169 | 162 | 175 | 163 | 91 | 1647
39(1,D3) | Unknown26 | 134 | 99 | 95 | 103 | 165 | 96 | 148 | 106 | 133 | 129 | 84 | 1292
40(1,D4) | Unknown27 | 141 | 90 | 72 | 87 | 119 | 93 | 127 | 107 | 125 | 106 | 67 | 1134
41(1,D5) | Unknown28 | 141 | 85 | 79 | 84 | 119 | 80 | 107 | 92 | 118 | 96 | 60 | 1061
42(1,D6) | Unknown29 | 140 | 72 | 63 | 70 | 139 | 81 | 104 | 83 | 117 | 95 | 45 | 1009
43(1,D7) | Unknown30 | 142 | 73 | 64 | 81 | 118 | 84 | 108 | 99 | 126 | 95 | 49 | 1039
44(1,D8) | Unknown31 | 127 | 82 | 61 | 95 | 127 | 90 | 105 | 112 | 119 | 101 | 64 | 1083
45(1,D9) | Unknown32 | 122 | 90 | 63 | 70 | 129 | 82 | 97 | 94 | 125 | 106 | 59 | 1037
46(1,D10) | Unknown33 | 83 | 49 | 55 | 58 | 81 | 64 | 82 | 67 | 96 | 78 | 35 | 748
47(1,D11) | Unknown34 | 102 | 79 | 56 | 65 | 104 | 67 | 105 | 90 | 120 | 83 | 56 | 927
48(1,D12) | Unknown35 | 73 | 46 | 41 | 22 | 62 | 44 | 58 | 51 | 59 | 52 | 44 | 552
49(1,E1) | Unknown36 | 344 | 189 | 163 | 208 | 315 | 170 | 274 | 233 | 298 | 269 | 164 | 2627
50(1,E2) | Unknown37 | 165 | 105 | 75 | 83 | 153 | 91 | 135 | 117 | 169 | 138 | 78 | 1309
51(1,E3) | Unknown38 | 160 | 85 | 71 | 94 | 125 | 72 | 144 | 128 | 156 | 109 | 79 | 1223
52(1,E4) | Unknown39 | 132 | 87 | 87 | 78 | 165 | 80 | 141 | 110 | 115 | 119 | 72 | 1186
53(1,E5) | Unknown40 | 125 | 101 | 72 | 79 | 114 | 70 | 92 | 92 | 128 | 107 | 55 | 1035
54(1,E6) | Unknown41 | 121 | 92 | 70 | 95 | 150 | 85 | 124 | 88 | 131 | 92 | 57 | 1105
55(1,E7) | Unknown42 | 141 | 96 | 72 | 92 | 129 | 84 | 144 | 116 | 134 | 98 | 76 | 1182
56(1,E8) | Unknown43 | 96 | 62 | 44 | 54 | 108 | 60 | 100 | 53 | 81 | 71 | 39 | 768
57(1,E9) | Unknown44 | 110 | 82 | 69 | 81 | 134 | 88 | 124 | 105 | 136 | 103 | 65 | 1097
58(1,E10) | Unknown45 | 98 | 70 | 52 | 58 | 110 | 50 | 98 | 83 | 88 | 74 | 49 | 830
59(1,E11) | Unknown46 | 112 | 80 | 68 | 66 | 104 | 57 | 87 | 87 | 104 | 79 | 51 | 895
60(1,E12) | Unknown47 | 50 | 35 | 41 | 42 | 52 | 38 | 64 | 44 | 53 | 50 | 37 | 506
61(1,F1) | Unknown48 | 319 | 180 | 152 | 209 | 295 | 165 | 256 | 224 | 279 | 243 | 153 | 2475
62(1,F2) | Unknown49 | 146 | 92 | 93 | 105 | 171 | 74 | 141 | 109 | 154 | 109 | 77 | 1271
63(1,F3) | Unknown50 | 160 | 99 | 83 | 99 | 125 | 70 | 128 | 99 | 144 | 106 | 68 | 1181
64(1,F4) | Unknown51 | 139 | 83 | 67 | 82 | 137 | 83 | 125 | 114 | 126 | 115 | 69 | 1140
65(1,F5) | Unknown52 | 131 | 110 | 74 | 83 | 156 | 96 | 120 | 110 | 130 | 123 | 68 | 1201
66(1,F6) | Unknown53 | 159 | 87 | 86 | 80 | 146 | 74 | 126 | 117 | 152 | 106 | 83 | 1216
67(1,F7) | Unknown54 | 119 | 82 | 76 | 74 | 114 | 78 | 106 | 91 | 118 | 99 | 73 | 1030
68(1,F8) | Unknown55 | 114 | 90 | 79 | 61 | 125 | 74 | 99 | 107 | 103 | 72 | 78 | 1002
69(1,F9) | Unknown56 | 122 | 75 | 68 | 66 | 103 | 62 | 93 | 97 | 93 | 84 | 48 | 911
70(1,F10) | Unknown57 | 102 | 85 | 77 | 72 | 105 | 61 | 85 | 90 | 98 | 100 | 48 | 923
71(1,F11) | Unknown58 | 81 | 76 | 51 | 59 | 90 | 56 | 72 | 65 | 104 | 74 | 54 | 782
72(1,F12) | Unknown59 | 46 | 39 | 28 | 28 | 50 | 28 | 53 | 53 | 48 | 57 | 17 | 447
73(1,G1) | Unknown60 | 239 | 133 | 108 | 149 | 240 | 122 | 174 | 156 | 220 | 148 | 97 | 1786
74(1,G2) | Unknown61 | 140 | 108 | 88 | 93 | 152 | 86 | 117 | 113 | 147 | 102 | 79 | 1225
75(1,G3) | Unknown62 | 124 | 107 | 61 | 84 | 146 | 89 | 121 | 107 | 126 | 137 | 74 | 1176
76(1,G4) | Unknown63 | 143 | 79 | 73 | 69 | 123 | 83 | 110 | 92 | 131 | 133 | 57 | 1093
77(1,G5) | Unknown64 | 129 | 86 | 80 | 76 | 109 | 88 | 107 | 117 | 119 | 105 | 75 | 1091
78(1,G6) | Unknown65 | 137 | 80 | 75 | 64 | 125 | 63 | 99 | 88 | 141 | 109 | 67 | 1048
79(1,G7) | Unknown66 | 130 | 76 | 66 | 65 | 110 | 59 | 96 | 92 | 110 | 95 | 62 | 961
80(1,G8) | Unknown67 | 118 | 84 | 62 | 64 | 114 | 76 | 113 | 89 | 120 | 86 | 80 | 1006
81(1,G9) | Unknown68 | 115 | 78 | 65 | 81 | 103 | 63 | 108 | 92 | 122 | 111 | 69 | 1007
82(1,G10) | Unknown69 | 129 | 85 | 73 | 71 | 128 | 69 | 104 | 75 | 109 | 85 | 62 | 990
83(1,G11) | Unknown70 | 79 | 56 | 42 | 62 | 99 | 56 | 84 | 69 | 80 | 70 | 47 | 744
84(1,G12) | Unknown71 | 103 | 60 | 58 | 57 | 92 | 53 | 71 | 62 | 94 | 77 | 51 | 778
85(1,H1) | Unknown72 | 248 | 156 | 124 | 147 | 228 | 155 | 222 | 175 | 222 | 184 | 129 | 1990
86(1,H2) | Unknown73 | 136 | 87 | 67 | 95 | 129 | 92 | 115 | 112 | 126 | 128 | 70 | 1157
87(1,H3) | Unknown74 | 143 | 97 | 83 | 75 | 142 | 87 | 120 | 90 | 125 | 98 | 82 | 1142
88(1,H4) | Unknown75 | 148 | 103 | 68 | 94 | 113 | 84 | 123 | 97 | 125 | 99 | 66 | 1120
89(1,H5) | Unknown76 | 144 | 94 | 82 | 98 | 149 | 96 | 100 | 125 | 158 | 124 | 88 | 1258
90(1,H6) | Unknown77 | 129 | 106 | 101 | 86 | 143 | 88 | 118 | 119 | 113 | 108 | 67 | 1178
91(1,H7) | Unknown78 | 121 | 79 | 81 | 68 | 137 | 66 | 112 | 97 | 138 | 96 | 63 | 1058
92(1,H8) | Unknown79 | 125 | 72 | 63 | 76 | 112 | 72 | 118 | 107 | 105 | 99 | 62 | 1011
93(1,H9) | Unknown80 | 126 | 75 | 67 | 68 | 129 | 83 | 84 | 84 | 118 | 94 | 51 | 979
94(1,H10) | Unknown81 | 151 | 104 | 103 | 90 | 132 | 89 | 130 | 115 | 138 | 119 | 74 | 1245
95(1,H11) | Unknown82 | 103 | 76 | 51 | 86 | 111 | 72 | 123 | 82 | 102 | 101 | 61 | 968
96(1,H12) | Unknown83 | 83 | 73 | 58 | 44 | 96 | 69 | 81 | 92 | 87 | 73 | 39 | 795
DataType: | Avg Net MFI
Sample | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
Control1 | 1826 | 4015.25 | 92.25 | 98.75 | 217 | 104.5 | 129 | 526.5 | 1066 | 1463.75 | 1597
Standard1 | 718.5 | 6838.75 | 6421.25 | 5515.75 | 13589 | 7494 | 13177 | 303.5 | 7228 | 4158.75 | 9672
Standard2 | 370 | 3936.75 | 3872.25 | 3747.75 | 11054 | 4932 | 9235.5 | 140.5 | 5463 | 1997.75 | 6127
Standard3 | 194.5 | 2402.25 | 2279.75 | 2228.75 | 9776.5 | 3478.5 | 6855 | 72.5 | 4380.5 | 1138.75 | 4025
Standard4 | 96 | 1286.25 | 1239.25 | 1369.75 | 8417 | 1872 | 4281 | 38.5 | 2661 | 569.25 | 2078.5
Standard5 | 47 | 647.25 | 657.25 | 762.75 | 6092.5 | 1047 | 2246 | 18.5 | 1594 | 294.75 | 1123.5
Standard6 | 24 | 346.25 | 342.25 | 433.75 | 3840.5 | 484 | 1228.5 | 10.5 | 960 | 145.75 | 596
Standard7 | 12 | 161.25 | 158.25 | 234.75 | 2295 | 252 | 633.5 | 7 | 555 | 72.75 | 312
Standard8 | 6 | 86.25 | 76.25 | 109.25 | 1199.5 | 114.5 | 300 | 1.5 | 286 | 33.75 | 146.5
Standard9 | 5 | 46.25 | 36.25 | 58.75 | 653 | 58.5 | 137 | 3 | 135 | 18.75 | 74
Standard10 | 2.5 | 23.75 | 16.25 | 29.75 | 302 | 28 | 64 | 1.5 | 67 | 7.75 | 36
Unknown1 | 156 | 555.25 | 33.25 | 49.75 | 44 | 36 | 28 | 362 | 508 | 217.25 | 319.5
Unknown2 | 56.5 | 425.25 | 22.25 | 58.75 | 57 | 47.5 | 27 | 503 | 163 | 168.75 | 203
Unknown3 | 45 | 185.25 | 35.25 | 59.75 | 69 | 65.5 | 33 | 547.5 | 150 | 127.75 | 111
Unknown4 | 112 | 320.25 | 29.75 | 44.25 | 59 | 45.5 | 27 | 483 | 258 | 405.75 | 612
Unknown5 | 13 | 32.75 | 15.75 | 14.75 | 20 | 14 | 6 | 32.5 | 104 | 48.75 | 41
Unknown6 | 46 | 26.25 | 10.75 | 12.75 | 16 | 12 | 5 | 24.5 | 117 | 42.75 | 180
Unknown7 | 15 | 204.25 | 16.25 | 27.75 | 23 | 24 | 8.5 | 40.5 | 70 | 50.25 | 49
Unknown8 | 77 | 121.25 | 4.25 | 9.75 | 16 | 11 | 10 | 25 | 87.5 | 158.75 | 91
Unknown9 | 39 | 151.25 | -2.75 | 6.75 | 8 | 5 | 3 | 9.5 | 45.5 | 41.75 | 23
Unknown10 | 11 | 18.25 | 1.75 | 2.75 | 8 | 7 | 2 | 17.5 | 24 | 12.75 | 46
Unknown11 | 22 | 160.25 | 1.25 | 5.75 | 10 | 7 | 3 | 33 | 10 | 22.75 | 17
Unknown12 | 51 | 24.25 | 19.25 | 19.75 | 16 | 15 | 7 | 23.5 | 29 | 44.75 | 144
Unknown13 | 42 | 32.25 | 1.75 | 4.75 | 10 | 6 | 5 | 22.5 | 18 | 35.75 | 45
Unknown14 | 45 | 151.75 | 13.25 | 10.75 | 14 | 14 | 6 | 33 | 132.5 | 54.75 | 36
Unknown15 | 10 | 87.75 | 1.25 | 3.75 | 7 | 7 | 3 | 9.5 | 37 | 40.75 | 46
Unknown16 | 79 | 341.75 | 8.25 | 6.75 | 10 | 10 | 5 | 16.5 | 117 | 60.75 | 39
Unknown17 | 49 | 120.25 | 12.25 | 7.75 | 10 | 8.5 | 4 | 12.5 | 42 | 34.75 | 56
Unknown18 | 97 | 82.25 | 5.25 | 9.75 | 9 | 12 | 5 | 19.5 | 49 | 15.75 | 43.5
Unknown19 | 65 | 49.25 | 7.25 | 9.75 | 10 | 8 | 4 | 13.5 | 18 | 136.75 | 16
Unknown20 | 70 | 48.25 | -6.25 | -1.25 | 9 | 7 | 4 | 11.5 | 22 | 75.75 | 24.5
Unknown21 | 17 | 9.25 | -2.75 | 7.75 | 10.5 | 7 | 3 | 48.5 | 105 | 84.75 | 367
Unknown22 | 49 | 97.25 | 0.25 | 2.75 | 9 | 9 | 5 | 35.5 | 53 | 91.75 | 47
Unknown23 | 39 | 54.75 | -3.25 | 5.75 | 765.5 | 15 | 7 | 28.5 | 222.5 | 32.75 | 113
Unknown24 | 38 | 43.25 | -0.75 | 12.75 | 27 | 19 | 12 | 37.5 | 62 | 76.75 | 35
Unknown25 | 75 | 40.25 | 11.25 | 29.75 | 86.5 | 37 | 16 | 65.5 | 468 | 136.75 | 1871
Unknown26 | 12 | 50.25 | 12.25 | 12.75 | 35 | 19 | 9 | 52.5 | 56 | 14.75 | 27
Unknown27 | 28 | 60.75 | 7.75 | 8.75 | 21 | 12 | 19 | 23.5 | 88 | 53.75 | 126
Unknown28 | 25 | 82.25 | 22.25 | 29.25 | 46 | 31.5 | 19 | 196.5 | 142.5 | 73.75 | 151.5
Unknown29 | 21 | 349.25 | 2.25 | 8.75 | 11 | 11 | 6 | 21.5 | 44 | 30.75 | 58
Unknown30 | 56 | 212.25 | 5.75 | 12.75 | 13 | 11 | 5 | 32.5 | 38 | 44.75 | 77
Unknown31 | 196 | 120.25 | 21.25 | 25.75 | 615 | 33 | 16 | 104.5 | 102 | 62.75 | 41.5
Unknown32 | 30 | 24.75 | -0.75 | 20.25 | 47 | 15.5 | 11 | 80 | 53 | 30.75 | 37
Unknown33 | 275 | 17.25 | -1.75 | 7.75 | 25 | 14 | 8 | 434.5 | 208 | 28.75 | 325
Unknown34 | 109.5 | 112.25 | 13.25 | 21.75 | 581 | 35 | 20 | 90.5 | 88 | 131.75 | 124.5
Unknown35 | 27 | 97.25 | -1.75 | -1.75 | 10.5 | 7.5 | 3.5 | 86.5 | 103 | 68.75 | 25.5
Unknown36 | 20 | 22.25 | 22.25 | 26.75 | 195 | 14 | 6 | 52.5 | 80.5 | 29.75 | 35
Unknown37 | 147 | 623.25 | 23.25 | 18.75 | 21 | 17 | 10 | 122.5 | 63 | 15.75 | 88
Unknown38 | 14 | 104.25 | 13.25 | 6.75 | 21 | 10 | 5 | 21.5 | 44 | 68.75 | 139
Unknown39 | 265.5 | 57.25 | 7.25 | 16.75 | 33 | 24.5 | 13 | 66 | 184 | 80.75 | 416.5
Unknown40 | 53 | 35.25 | 18.25 | 16.75 | 32 | 28.5 | 16.5 | 70.5 | 92 | 141.75 | 197
Unknown41 | 40 | 86.25 | 10.25 | 12.75 | 16 | 14 | 7.5 | 32.5 | 58 | 47.75 | 151
Unknown42 | 37 | 31.25 | 6.25 | 9.75 | 12 | 11 | 5 | 23.5 | 26 | 25.75 | 28
Unknown43 | 28.5 | 24.75 | 10.25 | 20.75 | 23 | 14 | 9 | 36.5 | 91 | 137.75 | 75
Unknown44 | 75 | 385.25 | -0.75 | 2.75 | 19.5 | 9 | 3.5 | 23.5 | 125 | 60.75 | 107
Unknown45 | 25.5 | 68.25 | 0.25 | 2.75 | 15 | 12 | 6 | 54.5 | 56 | 76.25 | 129
Unknown46 | 48 | 61.75 | -7.25 | 4.25 | 16 | 14 | 8 | 41.5 | 43 | 95.75 | 42
Unknown47 | 36.5 | 117.25 | -3.75 | 2.75 | 87 | 11 | 3 | 26.5 | 49 | 12.75 | 33
Unknown48 | 100 | 82.25 | 8.25 | 12.75 | 25 | 15 | 7 | 34.5 | 41 | 7.75 | 11
Unknown49 | 98 | 55.25 | 15.25 | 23.75 | 44 | 27 | 20 | 78.5 | 50 | 42.75 | 26
Unknown50 | 75 | 168.25 | 7.25 | 10.75 | 15 | 19.5 | 7 | 38.5 | 48 | 9.75 | 163
Unknown51 | 47 | 16.25 | 0.25 | 4.25 | 11 | 10 | 4 | 26 | 33 | 19.75 | 52
Unknown52 | 43 | 575.75 | 2.75 | 11.75 | 23 | 14 | 7 | 36.5 | 94 | 80.75 | 101
Unknown53 | 42 | 383.25 | 12.25 | 5.25 | 16.5 | 14 | 5 | 34.5 | 77 | 97.25 | 35
Unknown54 | 29 | 196.75 | 10.25 | 7.75 | 22 | 15 | 7 | 55.5 | 55.5 | 76.75 | 101
Unknown55 | 176 | 29.25 | 3.25 | 0.75 | 22 | 8 | 6 | 17.5 | 73 | 43.75 | 110
Unknown56 | 11 | 19.25 | -12.25 | 1.75 | 8 | 6.5 | 3 | 20.5 | 40 | 21.75 | 43.5
Unknown57 | 30 | 14.25 | -0.75 | -0.25 | 12 | 9 | 6 | 22 | 56 | 37.75 | 62
Unknown58 | 35 | 84.25 | 1.25 | 3.75 | 17 | 12 | 5.5 | 31.5 | 67 | 73.75 | 26
Unknown59 | 14 | 35.25 | 0.75 | 2.25 | 12 | 9 | 5 | 22.5 | 49 | 51.75 | 36
Unknown60 | 19 | 20.25 | 15.25 | 12.75 | 20 | 13 | 6 | 29.5 | 28 | 15.75 | 19
Unknown61 | 36 | 68.25 | 17.25 | 16.75 | 15.5 | 12 | 6 | 26.5 | 55 | 28.75 | 158
Unknown62 | 43 | 228.25 | 4.25 | 11.75 | 15.5 | 14 | 7 | 42.5 | 239.5 | 63.75 | 143.5
Unknown63 | 165 | 37.25 | -2.75 | 3.75 | 12 | 12 | 5 | 29.5 | 88 | 137.75 | 193
Unknown64 | 53 | 37.75 | -2.25 | 4.25 | 24 | 14 | 7 | 35.5 | 36 | 14.75 | 19
Unknown65 | 54 | 52.75 | 8.25 | 5.25 | 10 | 8 | 3 | 24.5 | 22 | 31.75 | 37
Unknown66 | 116 | 316.25 | -3.25 | 7.75 | 14 | 14 | 5.5 | 64 | 51 | 159.75 | 163.5
Unknown67 | 43.5 | 66.75 | 4.75 | 6.75 | 17 | 13 | 6 | 38.5 | 32 | 9.75 | 37.5
Unknown68 | 35 | 87.25 | -2.75 | -0.25 | 10 | 9 | 3 | 19.5 | 70.5 | 49.75 | 92
Unknown69 | 52 | 65.25 | 15.25 | 23.75 | 25 | 31 | 14 | 43.5 | 56 | 45.75 | 71
Unknown70 | 16 | 54.75 | 0.75 | 3.75 | 100 | 14 | 5.5 | 44.5 | 53 | 73.75 | 74
Unknown71 | 15 | 16.25 | 3.25 | 2.75 | 15 | 12 | 6 | 47 | 34 | 69.75 | 64
Unknown72 | 50 | 10.25 | 10.25 | 14.75 | 33 | 10 | 5 | 292.5 | 64 | 105.75 | 111
Unknown73 | 30 | 31.25 | 5.25 | 6.75 | 10 | 6 | 3 | 13 | 68.5 | 27.25 | 76.5
Unknown74 | 82 | 175.25 | 5.25 | 5.75 | 1158 | 9 | 6 | 38.5 | 112 | 77.75 | 104.5
Unknown75 | 49 | 56.25 | -3.75 | 2.75 | 13 | 7 | 8 | 62.5 | 65 | 175.75 | 66
Unknown76 | 11 | 71.75 | 0.75 | 3.75 | 6 | 8 | 3 | 77.5 | 35 | 117.75 | 54
Unknown77 | 32 | 24.75 | 3.25 | 2.25 | 14 | 12 | 5 | 43.5 | 79 | 123.75 | 215
Unknown78 | 135 | 119.25 | -1.75 | 1.75 | 18 | 8 | 3 | 16.5 | 30 | 21.75 | 25
Unknown79 | 39 | 150.75 | -4.75 | 1.25 | 14 | 12.5 | 6 | 30.5 | 41 | 48.75 | 44
Unknown80 | 13 | 98.25 | -7.75 | -6.75 | 5 | 4 | 2 | 25.5 | 35.5 | 19.75 | 12
Unknown81 | 25 | 21.25 | 1.25 | 0.25 | 6 | 5 | 3 | 15.5 | 23 | 40.75 | 35
Unknown82 | 16 | 133.25 | -3.75 | 1.25 | 30 | 8 | 3 | 18.5 | 23 | 44.75 | 32
Unknown83 | 21 | 286.25 | -5.25 | -2.75 | 9 | 7 | 3 | 14.5 | 18 | 39.75 | 27
DataType: | Avg Result
Sample | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
Control1 | 0.070363 | 0.0097158 | 0.00018465 | 0.00013466 | 2.8593e-05 | 0.00013968 | 7.3083e-05 | 0.063927 | 0.000705 | 0.0067531 | 0.0017994
Standard1 | 0.020135 | 0.020499 | 0.020133 | 0.019675 | 0.04175 | 0.021149 | 0.021132 | 0.026103 | 0.020104 | 0.020583 | 0.02022
Standard2 | 0.0097888 | 0.0094709 | 0.0098775 | 0.010486 | 0.0073585 | 0.009122 | 0.009061 | 0.0093171 | 0.0092974 | 0.0093855 | 0.0095896
Standard3 | 0.005082 | 0.0051667 | 0.0050393 | 0.0048565 | 0.0044063 | 0.0053577 | 0.0052855 | 0.0044276 | 0.0057843 | 0.0051854 | 0.0053892
Standard4 | 0.0025231 | 0.0025533 | 0.0024793 | 0.002516 | 0.0027599 | 0.0024564 | 0.0026332 | 0.0023645 | 0.0024422 | 0.0025169 | 0.0024222
Standard5 | 0.0012474 | 0.0012296 | 0.0012499 | 0.0012156 | 0.0013225 | 0.0013007 | 0.0011904 | 0.0012271 | 0.0011773 | 0.001278 | 0.0012252
Standard6 | 0.00063644 | 0.00064548 | 0.00064361 | 0.00063469 | 0.00061632 | 0.00059878 | 0.0006192 | 0.00076175 | 0.00062062 | 0.00062458 | 0.00062824
Standard7 | 0.00030844 | 0.00029688 | 0.00030536 | 0.00032689 | 0.00031283 | 0.00032019 | 0.00031927 | 0.00054305 | 0.0003283 | 0.00031146 | 0.00032449
Standard8 | 0.00013848 | 0.00015663 | 0.00015506 | 0.00014909 | 0.00015053 | 0.00015224 | 0.00015747 | 5.8814e-05 | 0.00016005 | 0.00014685 | 0.00015261
Standard9 | 0.00010933 | 8.1379e-05 | 7.9275e-05 | 7.9776e-05 | 8.0964e-05 | 8.0444e-05 | 7.7137e-05 | 0.00024842 | 7.5134e-05 | 8.4192e-05 | 7.8167e-05
Standard10 | 3.4224e-05 | 3.8418e-05 | 3.8917e-05 | 3.8943e-05 | 3.8767e-05 | 3.8717e-05 | 3.9192e-05 | 5.8814e-05 | 3.9469e-05 | 3.8511e-05 | 3.9131e-05
Unknown1 | 0.0040783 | 0.0010485 | 7.3397e-05 | 6.7315e-05 | 7.0403e-06 | 4.9992e-05 | 1.8971e-05 | 0.034167 | 0.00029741 | 0.00093609 | 0.00033237
Unknown2 | 0.0014964 | 0.00079653 | 5.138e-05 | 7.9776e-05 | 8.77e-06 | 6.574e-05 | 1.8378e-05 | 0.058965 | 9.0316e-05 | 0.00072432 | 0.00021092
Unknown3 | 0.0011948 | 0.00034179 | 7.732e-05 | 8.1155e-05 | 1.0335e-05 | 8.9661e-05 | 2.1903e-05 | 0.068582 | 8.3233e-05 | 0.00054686 | 0.00011613
Unknown4 | 0.0029375 | 0.00059608 | 6.6479e-05 | 5.9636e-05 | 9.0327e-06 | 6.3033e-05 | 1.8378e-05 | 0.05494 | 0.00014376 | 0.0017743 | 0.00064571
Unknown5 | 0.00033624 | 5.5703e-05 | 3.7857e-05 | 1.5684e-05 | 3.6981e-06 | 1.7899e-05 | 4.9417e-06 | 0.0020205 | 5.8653e-05 | 0.00020989 | 4.4279e-05
Unknown6 | 0.0012211 | 4.3238e-05 | 2.7007e-05 | 1.2157e-05 | 3.1102e-06 | 1.4729e-05 | 4.2099e-06 | 0.001567 | 6.5521e-05 | 0.00018463 | 0.00018715
Unknown7 | 0.00039151 | 0.00037739 | 3.8917e-05 | 3.6005e-05 | 4.1313e-06 | 3.2944e-05 | 6.7039e-06 | 0.0024802 | 4.1003e-05 | 0.00021622 | 5.2506e-05
Unknown8 | 0.0020304 | 0.00022211 | 1.1711e-05 | 6.229e-06 | 3.1102e-06 | 1.3113e-05 | 7.7263e-06 | 0.0015953 | 5.0029e-05 | 0.0006809 | 9.5604e-05
Unknown9 | 0.0010365 | 0.00027818 | < 3.90625E-05 | < 3.90625E-05 | 1.8847e-06 | 2.5937e-06 | 2.677e-06 | 0.00070091 | 2.8593e-05 | 0.00018043 | 2.5706e-05
Unknown10 | 0.00028053 | 2.7744e-05 | 4.8911e-06 | < 3.90625E-05 | 1.8847e-06 | 6.3384e-06 | 1.8571e-06 | 0.0011701 | 1.7948e-05 | 5.9247e-05 | 4.9422e-05
Unknown11 | 0.00058244 | 0.000295 | 3.332e-06 | < 3.90625E-05 | 2.199e-06 | 6.3384e-06 | 2.677e-06 | 0.002049 | 1.1167e-05 | 0.00010086 | 1.9479e-05
Unknown12 | 0.0013524 | 3.9383e-05 | 4.5202e-05 | 2.3856e-05 | 3.1102e-06 | 1.9457e-05 | 5.6567e-06 | 0.0015105 | 2.0401e-05 | 0.00019305 | 0.00015004
Unknown13 | 0.0011157 | 5.4748e-05 | 4.8911e-06 | < 3.90625E-05 | 2.199e-06 | 4.5179e-06 | 4.2099e-06 | 0.0014539 | 1.5026e-05 | 0.00015524 | 4.8394e-05
Unknown14 | 0.0011948 | 0.00027911 | 3.2495e-05 | 8.3379e-06 | 2.8109e-06 | 1.7899e-05 | 4.9417e-06 | 0.002049 | 7.3792e-05 | 0.00023521 | 3.9131e-05
Unknown15 | 0.00025248 | 0.00015944 | 3.332e-06 | < 3.90625E-05 | 1.7249e-06 | 6.3384e-06 | 2.677e-06 | 0.00070091 | 2.4354e-05 | 0.00017623 | 4.9422e-05
Unknown16 | 0.0020823 | 0.00063692 | 2.1348e-05 | < 3.90625E-05 | 2.199e-06 | 1.1472e-05 | 4.2099e-06 | 0.0011129 | 6.5521e-05 | 0.00026058 | 4.2221e-05
Unknown17 | 0.0012999 | 0.00022024 | 3.0317e-05 | 2.1038e-07 | 2.199e-06 | 8.9527e-06 | 3.4572e-06 | 0.0008809 | 2.6843e-05 | 0.00015104 | 5.9696e-05
Unknown18 | 0.002549 | 0.00014914 | 1.4216e-05 | 6.229e-06 | 2.0427e-06 | 1.4729e-05 | 4.2099e-06 | 0.001284 | 3.0348e-05 | 7.1711e-05 | 4.6851e-05
Unknown19 | 0.0017182 | 8.7057e-05 | 1.9021e-05 | 6.229e-06 | 2.199e-06 | 8.0936e-06 | 3.4572e-06 | 0.00093953 | 1.5026e-05 | 0.00058568 | 1.8439e-05
Unknown20 | 0.0018484 | 8.5165e-05 | < 3.90625E-05 | < 3.90625E-05 | 2.0427e-06 | 6.3384e-06 | 3.4572e-06 | 0.00082169 | 1.6972e-05 | 0.00032421 | 2.7259e-05
Unknown21 | 0.00044642 | 9.9305e-06 | < 3.90625E-05 | 2.1038e-07 | 2.2767e-06 | 6.3384e-06 | 2.677e-06 | 0.0029492 | 5.9179e-05 | 0.00036253 | 0.0003824
Unknown22 | 0.0012999 | 0.00017723 | < 3.90625E-05 | < 3.90625E-05 | 2.0427e-06 | 9.8015e-06 | 4.2099e-06 | 0.002192 | 3.2362e-05 | 0.00039239 | 5.045e-05
Unknown23 | 0.0010365 | 9.7446e-05 | < 3.90625E-05 | < 3.90625E-05 | 9.4811e-05 | 1.9457e-05 | 5.6567e-06 | 0.0017933 | 0.00012345 | 0.00014266 | 0.00011818
Unknown24 | 0.00101 | 7.5692e-05 | < 3.90625E-05 | 1.2157e-05 | 4.7005e-06 | 2.5555e-05 | 9.0586e-06 | 0.0023068 | 3.692e-05 | 0.00032846 | 3.81e-05
Unknown25 | 0.0019784 | 6.9996e-05 | 2.8116e-05 | 3.8943e-05 | 1.2578e-05 | 5.138e-05 | 1.1641e-05 | 0.0039844 | 0.00027161 | 0.00058568 | 0.0021488
Unknown26 | 0.00030844 | 8.8947e-05 | 3.0317e-05 | 1.2157e-05 | 5.8152e-06 | 2.5555e-05 | 7.0472e-06 | 0.0031878 | 3.3877e-05 | 6.7554e-05 | 2.9844e-05
Unknown27 | 0.00074389 | 0.00010876 | 2.019e-05 | 3.8409e-06 | 3.8432e-06 | 1.4729e-05 | 1.3524e-05 | 0.0015105 | 5.0289e-05 | 0.00023099 | 0.00013153
Unknown28 | 0.00066337 | 0.00014914 | 5.138e-05 | 3.8212e-05 | 7.3091e-06 | 4.3689e-05 | 1.3524e-05 | 0.014221 | 7.9174e-05 | 0.00031571 | 0.00015776
Unknown29 | 0.00055536 | 0.00065119 | 6.3542e-06 | 3.8409e-06 | 2.3539e-06 | 1.3113e-05 | 4.9417e-06 | 0.0013974 | 2.7842e-05 | 0.00013429 | 6.175e-05
Unknown30 | 0.0014833 | 0.00039239 | 1.544e-05 | 1.2157e-05 | 2.6598e-06 | 1.3113e-05 | 4.2099e-06 | 0.0020205 | 2.4851e-05 | 0.00019305 | 8.1244e-05
Unknown31 | 0.0051213 | 0.00022024 | 4.9331e-05 | 3.3035e-05 | 7.6332e-05 | 4.5801e-05 | 1.1641e-05 | 0.0065916 | 5.7602e-05 | 0.00026904 | 4.4794e-05
Unknown32 | 0.00079738 | 4.0348e-05 | < 3.90625E-05 | 2.4641e-05 | 7.4432e-06 | 2.0231e-05 | 8.3965e-06 | 0.0049141 | 3.2362e-05 | 0.00013429 | 4.0161e-05
Unknown33 | 0.0072098 | 2.5791e-05 | < 3.90625E-05 | 2.1038e-07 | 4.417e-06 | 1.7899e-05 | 6.3578e-06 | 0.045904 | 0.00011527 | 0.00012592 | 0.00033814
Unknown34 | 0.0028727 | 0.00020528 | 3.2495e-05 | 2.6971e-05 | 7.2205e-05 | 4.8599e-05 | 1.4142e-05 | 0.0056161 | 5.0289e-05 | 0.0005641 | 0.00012999
Unknown35 | 0.00071709 | 0.00017723 | < 3.90625E-05 | < 3.90625E-05 | 2.2767e-06 | 7.2228e-06 | 3.0711e-06 | 0.0053457 | 5.8127e-05 | 0.00029448 | 2.8293e-05
Unknown36 | 0.00052822 | 3.5517e-05 | 5.138e-05 | 3.4524e-05 | 2.5942e-05 | 1.7899e-05 | 4.9417e-06 | 0.0031878 | 4.6403e-05 | 0.0001301 | 3.81e-05
Unknown37 | 0.0038445 | 0.0011821 | 5.3419e-05 | 2.2273e-05 | 3.8432e-06 | 2.2531e-05 | 7.7263e-06 | 0.0079144 | 3.7429e-05 | 7.1711e-05 | 9.2527e-05
Unknown38 | 0.00036392 | 0.00019032 | 3.2495e-05 | < 3.90625E-05 | 3.8432e-06 | 1.1472e-05 | 4.2099e-06 | 0.0013974 | 2.7842e-05 | 0.00029448 | 0.0001449
Unknown39 | 0.0069563 | 0.00010216 | 1.9021e-05 | 1.9037e-05 | 5.5391e-06 | 3.3672e-05 | 9.7136e-06 | 0.0040157 | 0.00010188 | 0.00034548 | 0.00043489
Unknown40 | 0.0014048 | 6.0477e-05 | 4.312e-05 | 1.9037e-05 | 5.4004e-06 | 3.9432e-05 | 1.1958e-05 | 0.0042999 | 5.237e-05 | 0.00060728 | 0.00020472
Unknown41 | 0.0010629 | 0.00015663 | 2.589e-05 | 1.2157e-05 | 3.1102e-06 | 1.7899e-05 | 6.0089e-06 | 0.0020205 | 3.489e-05 | 0.00020568 | 0.00015725
Unknown42 | 0.00098354 | 5.2834e-05 | 1.6647e-05 | 6.229e-06 | 2.5074e-06 | 1.3113e-05 | 4.2099e-06 | 0.0015105 | 1.8928e-05 | 0.00011338 | 3.0878e-05
Unknown43 | 0.00075728 | 4.0348e-05 | 2.589e-05 | 2.5422e-05 | 4.1313e-06 | 1.7899e-05 | 7.0472e-06 | 0.0022493 | 5.1849e-05 | 0.00059 | 7.9193e-05
Unknown44 | 0.0019784 | 0.00071986 | < 3.90625E-05 | < 3.90625E-05 | 3.6253e-06 | 9.8015e-06 | 3.0711e-06 | 0.0015105 | 6.9779e-05 | 0.00026058 | 0.00011202
Unknown45 | 0.00067682 | 0.00012286 | < 3.90625E-05 | < 3.90625E-05 | 2.961e-06 | 1.4729e-05 | 4.9417e-06 | 0.0033082 | 3.3877e-05 | 0.00032633 | 0.00013462
Unknown46 | 0.0012736 | 0.00011064 | < 3.90625E-05 | < 3.90625E-05 | 3.1102e-06 | 1.7899e-05 | 6.3578e-06 | 0.0025383 | 2.7342e-05 | 0.00040949 | 4.5308e-05
Unknown47 | 0.00097029 | 0.00021463 | < 3.90625E-05 | < 3.90625E-05 | 1.2642e-05 | 1.3113e-05 | 2.677e-06 | 0.0016801 | 3.0348e-05 | 5.9247e-05 | 3.6039e-05
Unknown48 | 0.0026267 | 0.00014914 | 2.1348e-05 | 1.2157e-05 | 4.417e-06 | 1.9457e-05 | 5.6567e-06 | 0.0021347 | 2.6344e-05 | 3.8511e-05 | 1.322e-05
Unknown49 | 0.0025749 | 9.839e-05 | 3.6793e-05 | 3.0026e-05 | 7.0403e-06 | 3.7284e-05 | 1.4142e-05 | 0.0048158 | 3.0851e-05 | 0.00018463 | 2.881e-05
Unknown50 | 0.0019784 | 0.00030997 | 1.9021e-05 | 8.3379e-06 | 2.961e-06 | 2.6304e-05 | 5.6567e-06 | 0.0023645 | 2.9846e-05 | 4.68e-05 | 0.00016961
Unknown51 | 0.0012474 | 2.3832e-05 | < 3.90625E-05 | < 3.90625E-05 | 2.3539e-06 | 1.1472e-05 | 3.4572e-06 | 0.0016518 | 2.2373e-05 | 8.8357e-05 | 5.5588e-05
Unknown52 | 0.0011421 | 0.0010887 | 7.7539e-06 | 1.0297e-05 | 4.1313e-06 | 1.7899e-05 | 5.6567e-06 | 0.0022493 | 5.3413e-05 | 0.00034548 | 0.00010586
Unknown53 | 0.0011157 | 0.00071604 | 3.0317e-05 | < 3.90625E-05 | 3.1844e-06 | 1.7899e-05 | 4.2099e-06 | 0.0021347 | 4.4598e-05 | 0.0004159 | 3.81e-05
Unknown54 | 0.00077065 | 0.00036333 | 2.589e-05 | 2.1038e-07 | 3.9876e-06 | 1.9457e-05 | 5.6567e-06 | 0.0033687 | 3.3625e-05 | 0.00032846 | 0.00010586
Unknown55 | 0.0045988 | 4.9002e-05 | 9.107e-06 | < 3.90625E-05 | 3.9876e-06 | 8.0936e-06 | 4.9417e-06 | 0.0011701 | 4.2541e-05 | 0.00018884 | 0.0001151
Unknown56 | 0.00028053 | 2.9693e-05 | < 3.90625E-05 | < 3.90625E-05 | 1.8847e-06 | 5.438e-06 | 2.677e-06 | 0.0013407 | 2.5846e-05 | 9.6691e-05 | 4.6851e-05
Unknown57 | 0.00079738 | 1.99e-05 | < 3.90625E-05 | < 3.90625E-05 | 2.5074e-06 | 9.8015e-06 | 4.9417e-06 | 0.0014257 | 3.3877e-05 | 0.00016363 | 6.5855e-05
Unknown58 | 0.00093049 | 0.00015289 | 3.332e-06 | < 3.90625E-05 | 3.2584e-06 | 1.4729e-05 | 4.5781e-06 | 0.0019636 | 3.9469e-05 | 0.00031571 | 2.881e-05
Unknown59 | 0.00036392 | 6.0477e-05 | 1.5904e-06 | < 3.90625E-05 | 2.5074e-06 | 9.8015e-06 | 4.2099e-06 | 0.0014539 | 3.0348e-05 | 0.00022255 | 3.9131e-05
Unknown60 | 0.00050102 | 3.1638e-05 | 3.6793e-05 | 1.2157e-05 | 3.6981e-06 | 1.6323e-05 | 4.9417e-06 | 0.00185 | 1.9909e-05 | 7.1711e-05 | 2.1558e-05
Unknown61 | 0.00095703 | 0.00012286 | 4.1025e-05 | 1.9037e-05 | 3.0357e-06 | 1.4729e-05 | 4.9417e-06 | 0.0016801 | 3.3372e-05 | 0.00012592 | 0.00016446
Unknown62 | 0.0011421 | 0.00042243 | 1.1711e-05 | 1.0297e-05 | 3.0357e-06 | 1.7899e-05 | 5.6567e-06 | 0.0025965 | 0.00013313 | 0.00027328 | 0.00014953
Unknown63 | 0.0043123 | 6.4289e-05 | < 3.90625E-05 | < 3.90625E-05 | 2.5074e-06 | 1.4729e-05 | 4.2099e-06 | 0.00185 | 5.0289e-05 | 0.00059 | 0.00020058
Unknown64 | 0.0014048 | 6.5241e-05 | < 3.90625E-05 | < 3.90625E-05 | 4.2745e-06 | 1.7899e-05 | 5.6567e-06 | 0.002192 | 2.3858e-05 | 6.7554e-05 | 2.1558e-05
Unknown65 | 0.001431 | 9.3671e-05 | 2.1348e-05 | < 3.90625E-05 | 2.199e-06 | 8.0936e-06 | 2.677e-06 | 0.001567 | 1.6972e-05 | 0.00013847 | 4.0161e-05
Unknown66 | 0.0030411 | 0.00058849 | < 3.90625E-05 | 2.1038e-07 | 2.8109e-06 | 1.7899e-05 | 4.5781e-06 | 0.0038908 | 3.1354e-05 | 0.00068524 | 0.00017012
Unknown67 | 0.0011553 | 0.00012005 | 1.2974e-05 | < 3.90625E-05 | 3.2584e-06 | 1.6323e-05 | 4.9417e-06 | 0.0023645 | 2.1879e-05 | 4.68e-05 | 4.0676e-05
Unknown68 | 0.00093049 | 0.00015851 | < 3.90625E-05 | < 3.90625E-05 | 2.199e-06 | 9.8015e-06 | 2.677e-06 | 0.001284 | 4.1259e-05 | 0.00021411 | 9.663e-05
Unknown69 | 0.0013786 | 0.00011722 | 3.6793e-05 | 3.0026e-05 | 4.417e-06 | 4.2983e-05 | 1.0362e-05 | 0.0026549 | 3.3877e-05 | 0.00019726 | 7.509e-05
Unknown70 | 0.000419 | 9.7446e-05 | 1.5904e-06 | < 3.90625E-05 | 1.4284e-05 | 1.7899e-05 | 4.5781e-06 | 0.0027134 | 3.2362e-05 | 0.00031571 | 7.8167e-05
Unknown71 | 0.00039151 | 2.3832e-05 | 9.107e-06 | < 3.90625E-05 | 2.961e-06 | 1.4729e-05 | 4.9417e-06 | 0.0028605 | 2.2868e-05 | 0.00029872 | 6.7908e-05
Unknown72 | 0.0013261 | 1.1945e-05 | 2.589e-05 | 1.5684e-05 | 5.5391e-06 | 1.1472e-05 | 4.2099e-06 | 0.024717 | 3.7938e-05 | 0.0004523 | 0.00011613
Unknown73 | 0.00079738 | 5.2834e-05 | 1.4216e-05 | < 3.90625E-05 | 2.199e-06 | 4.5179e-06 | 2.677e-06 | 0.00091028 | 4.0235e-05 | 0.00011965 | 8.0731e-05
Unknown74 | 0.0021602 | 0.00032307 | 1.4216e-05 | < 3.90625E-05 | 0.00014502 | 9.8015e-06 | 4.9417e-06 | 0.0023645 | 6.2872e-05 | 0.00033271 | 0.00010946
Unknown75 | 0.0012999 | 0.00010028 | < 3.90625E-05 | < 3.90625E-05 | 2.6598e-06 | 6.3384e-06 | 6.3578e-06 | 0.0037976 | 3.8448e-05 | 0.00075477 | 6.996e-05
Unknown76 | 0.00028053 | 0.00012944 | 1.5904e-06 | < 3.90625E-05 | 1.5631e-06 | 8.0936e-06 | 2.677e-06 | 0.0047505 | 2.3363e-05 | 0.00050382 | 5.7642e-05
Unknown77 | 0.00085072 | 4.0348e-05 | 9.107e-06 | < 3.90625E-05 | 2.8109e-06 | 1.4729e-05 | 4.2099e-06 | 0.0026549 | 4.5629e-05 | 0.00052963 | 0.00022335
Unknown78 | 0.0035333 | 0.00021837 | < 3.90625E-05 | < 3.90625E-05 | 3.4058e-06 | 8.0936e-06 | 2.677e-06 | 0.0011129 | 2.0893e-05 | 9.6691e-05 | 2.7776e-05
Unknown79 | 0.0010365 | 0.00027724 | < 3.90625E-05 | < 3.90625E-05 | 2.8109e-06 | 1.5529e-05 | 4.9417e-06 | 0.0019067 | 2.6344e-05 | 0.00020989 | 4.7366e-05
Unknown80 | 0.00033624 | 0.0001791 | < 3.90625E-05 | < 3.90625E-05 | 1.3989e-06 | 4.1993e-07 | 1.8571e-06 | 0.0016235 | 2.3611e-05 | 8.8357e-05 | 1.4267e-05
Unknown81 | 0.00066337 | 3.3579e-05 | 3.332e-06 | < 3.90625E-05 | 1.5631e-06 | 2.5937e-06 | 2.677e-06 | 0.0010555 | 1.746e-05 | 0.00017623 | 3.81e-05
Unknown82 | 0.000419 | 0.00024453 | < 3.90625E-05 | < 3.90625E-05 | 5.1218e-06 | 8.0936e-06 | 2.677e-06 | 0.0012271 | 1.746e-05 | 0.00019305 | 3.5007e-05
Unknown83 | 0.00055536 | 0.00053171 | < 3.90625E-05 | < 3.90625E-05 | 2.0427e-06 | 6.3384e-06 | 2.677e-06 | 0.00099769 | 1.5026e-05 | 0.00017203 | 2.9844e-05
DataType: | Avg Range
Sample | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
Control1
Standard1
Standard2
Standard3
Standard4
Standard5
Standard6
Standard7
Standard8
Standard9
Standard10
Unknown1
Unknown2
Unknown3
Unknown4
Unknown5
Unknown6
Unknown7
Unknown8
Unknown9
Unknown10
Unknown11
Unknown12
Unknown13
Unknown14
Unknown15
Unknown16
Unknown17
Unknown18
Unknown19
Unknown20
Unknown21
Unknown22
Unknown23
Unknown24
Unknown25
Unknown26
Unknown27
Unknown28
Unknown29
Unknown30
Unknown31
Unknown32
Unknown33
Unknown34
Unknown35
Unknown36
Unknown37
Unknown38
Unknown39
Unknown40
Unknown41
Unknown42
Unknown43
Unknown44
Unknown45
Unknown46
Unknown47
Unknown48
Unknown49
Unknown50
Unknown51
Unknown52
Unknown53
Unknown54
Unknown55
Unknown56
Unknown57
Unknown58
Unknown59
Unknown60
Unknown61
Unknown62
Unknown63
Unknown64
Unknown65
Unknown66
Unknown67
Unknown68
Unknown69
Unknown70
Unknown71
Unknown72
Unknown73
Unknown74
Unknown75
Unknown76
Unknown77
Unknown78
Unknown79
Unknown80
Unknown81
Unknown82
Unknown83
DataType: | %CV Replicates
Sample | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
Control1
Standard1
Standard2
Standard3
Standard4
Standard5
Standard6
Standard7
Standard8
Standard9
Standard10
Unknown1
Unknown2
Unknown3
Unknown4
Unknown5
Unknown6
Unknown7
Unknown8
Unknown9
Unknown10
Unknown11
Unknown12
Unknown13
Unknown14
Unknown15
Unknown16
Unknown17
Unknown18
Unknown19
Unknown20
Unknown21
Unknown22
Unknown23
Unknown24
Unknown25
Unknown26
Unknown27
Unknown28
Unknown29
Unknown30
Unknown31
Unknown32
Unknown33
Unknown34
Unknown35
Unknown36
Unknown37
Unknown38
Unknown39
Unknown40
Unknown41
Unknown42
Unknown43
Unknown44
Unknown45
Unknown46
Unknown47
Unknown48
Unknown49
Unknown50
Unknown51
Unknown52
Unknown53
Unknown54
Unknown55
Unknown56
Unknown57
Unknown58
Unknown59
Unknown60
Unknown61
Unknown62
Unknown63
Unknown64
Unknown65
Unknown66
Unknown67
Unknown68
Unknown69
Unknown70
Unknown71
Unknown72
Unknown73
Unknown74
Unknown75
Unknown76
Unknown77
Unknown78
Unknown79
Unknown80
Unknown81
Unknown82
Unknown83
DataType: | % Recovery
Location | Sample | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
2(1,A2) | Control1 | 703.63 | 97.16 | 1.85 | 1.35 | 0.29 | 1.4 | 0.73 | 639.27 | 7.05 | 67.53 | 17.99
3(1,A3) | S1 | 100.67 | 102.49 | 100.67 | 98.37 | 208.75 | 105.75 | 105.66 | 130.52 | 100.52 | 102.92 | 101.1
4(1,A4) | S2 | 97.89 | 94.71 | 98.77 | 104.86 | 73.59 | 91.22 | 90.61 | 93.17 | 92.97 | 93.85 | 95.9
5(1,A5) | S3 | 101.64 | 103.33 | 100.79 | 97.13 | 88.13 | 107.15 | 105.71 | 88.55 | 115.69 | 103.71 | 107.78
6(1,A6) | S4 | 100.93 | 102.13 | 99.17 | 100.64 | 110.4 | 98.25 | 105.33 | 94.58 | 97.69 | 100.68 | 96.89
7(1,A7) | S5 | 99.79 | 98.36 | 99.99 | 97.25 | 105.8 | 104.06 | 95.23 | 98.17 | 94.18 | 102.24 | 98.02
8(1,A8) | S6 | 101.83 | 103.28 | 102.98 | 101.55 | 98.61 | 95.8 | 99.07 | 121.88 | 99.3 | 99.93 | 100.52
9(1,A9) | S7 | 98.7 | 95 | 97.71 | 104.6 | 100.11 | 102.46 | 102.16 | 173.78 | 105.06 | 99.67 | 103.84
10(1,A10) | S8 | 88.63 | 100.25 | 99.24 | 95.42 | 96.34 | 97.44 | 100.78 | 37.64 | 102.43 | 93.98 | 97.67
11(1,A11) | S9 | 139.95 | 104.16 | 101.47 | 102.11 | 103.63 | 102.97 | 98.74 | 317.98 | 96.17 | 107.77 | 100.05
12(1,A12) | S10 | 87.61 | 98.35 | 99.63 | 99.7 | 99.24 | 99.12 | 100.33 | 150.56 | 101.04 | 98.59 | 100.18
DataType: | Comments
Location | Sample | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
1(1,A1) | Background0
2(1,A2) | Control1 | Control Failed. Extrapolated | Control Failed. | Control Failed. | Control Failed. | Control Failed. Extrapolated | Control Failed. | Control Failed. | Control Failed. Extrapolated | Control Failed. | Control Failed. | Control Failed.
3(1,A3) | S1
4(1,A4) | S2
5(1,A5) | S3
6(1,A6) | S4
7(1,A7) | S5
8(1,A8) | S6
9(1,A9) | S7
10(1,A10) | S8
11(1,A11) | S9
12(1,A12) | S10
13(1,B1) | Background0
14(1,B2) | Unknown1 |  |  |  |  | Extrapolated |  | Extrapolated | Extrapolated
15(1,B3) | Unknown2 |  |  |  |  | Extrapolated |  | Extrapolated | Extrapolated
16(1,B4) | Unknown3 |  |  |  |  | Extrapolated |  | Extrapolated | Extrapolated
17(1,B5) | Unknown4 |  |  |  |  | Extrapolated |  | Extrapolated | Extrapolated
18(1,B6) | Unknown5 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated
19(1,B7) | Unknown6 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated
20(1,B8) | Unknown7 |  |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated
21(1,B9) | Unknown8 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated
22(1,B10) | Unknown9 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
23(1,B11) | Unknown10 |  | Extrapolated | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
24(1,B12) | Unknown11 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
25(1,C1) | Unknown12 |  |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
26(1,C2) | Unknown13 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
27(1,C3) | Unknown14 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated
28(1,C4) | Unknown15 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
29(1,C5) | Unknown16 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated
30(1,C6) | Unknown17 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
31(1,C7) | Unknown18 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
32(1,C8) | Unknown19 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
33(1,C9) | Unknown20 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
34(1,C10) | Unknown21 |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated
35(1,C11) | Unknown22 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
36(1,C12) | Unknown23 | [5 empty] | Extrapolated | Extrapolated
37(1,D1) | Unknown24 |  |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
38(1,D2) | Unknown25 |  |  | Extrapolated |  | Extrapolated |  | Extrapolated
39(1,D3) | Unknown26 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
40(1,D4) | Unknown27 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated
41(1,D5) | Unknown28 |  |  |  | Extrapolated | Extrapolated |  | Extrapolated
42(1,D6) | Unknown29 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
43(1,D7) | Unknown30 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
44(1,D8) | Unknown31 |  |  |  | Extrapolated |  |  | Extrapolated
45(1,D9) | Unknown32 |  |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
46(1,D10) | Unknown33 |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated
47(1,D11) | Unknown34 |  |  | Extrapolated | Extrapolated |  |  | Extrapolated
48(1,D12) | Unknown35 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  |  |  | Extrapolated
49(1,E1) | Unknown36 |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  |  |  | Extrapolated
50(1,E2) | Unknown37 |  |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
51(1,E3) | Unknown38 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
52(1,E4) | Unknown39 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated
53(1,E5) | Unknown40 |  |  |  | Extrapolated | Extrapolated |  | Extrapolated
54(1,E6) | Unknown41 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
55(1,E7) | Unknown42 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
56(1,E8) | Unknown43 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated
57(1,E9) | Unknown44 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated
58(1,E10) | Unknown45 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
59(1,E11) | Unknown46 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
60(1,E12) | Unknown47 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
61(1,F1) | Unknown48 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
62(1,F2) | Unknown49 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
63(1,F3) | Unknown50 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
64(1,F4) | Unknown51 |  | Extrapolated |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
65(1,F5) | Unknown52 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated
66(1,F6) | Unknown53 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  |  |  | Extrapolated
67(1,F7) | Unknown54 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
68(1,F8) | Unknown55 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated
69(1,F9) | Unknown56 |  | Extrapolated |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
70(1,F10) | Unknown57 |  | Extrapolated |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
71(1,F11) | Unknown58 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  |  |  | Extrapolated
72(1,F12) | Unknown59 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
73(1,G1) | Unknown60 |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
74(1,G2) | Unknown61 |  |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
75(1,G3) | Unknown62 |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated
76(1,G4) | Unknown63 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated
77(1,G5) | Unknown64 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
78(1,G6) | Unknown65 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
79(1,G7) | Unknown66 |  |  |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
80(1,G8) | Unknown67 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
81(1,G9) | Unknown68 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated
82(1,G10) | Unknown69 |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
83(1,G11) | Unknown70 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
84(1,G12) | Unknown71 |  | Extrapolated | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
85(1,H1) | Unknown72 |  | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
86(1,H2) | Unknown73 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated
87(1,H3) | Unknown74 |  |  | Extrapolated |  |  | Extrapolated | Extrapolated
88(1,H4) | Unknown75 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
89(1,H5) | Unknown76 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
90(1,H6) | Unknown77 |  |  | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated
91(1,H7) | Unknown78 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
92(1,H8) | Unknown79 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated
93(1,H9) | Unknown80 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
94(1,H10) | Unknown81 |  | Extrapolated | Extrapolated |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
95(1,H11) | Unknown82 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
96(1,H12) | Unknown83 |  |  |  |  | Extrapolated | Extrapolated | Extrapolated |  | Extrapolated |  | Extrapolated
DataType: | Units
Analyte: | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
BeadID: | 21 | 26 | 28 | 45 | 46 | 57 | 62 | 65 | 66 | 77 | 78
Units:
DataType: | S Expected Concentration
Reagent | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
Standard1 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
Standard10 | 3.9063e-05 | 3.9063e-05 | 3.9063e-05 | 3.9063e-05 | 3.9063e-05 | 3.9063e-05 | 3.9063e-05 | 3.9063e-05 | 3.9063e-05 | 3.9063e-05 | 3.9063e-05
Standard2 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Standard3 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005
Standard4 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025 | 0.0025
Standard5 | 0.00125 | 0.00125 | 0.00125 | 0.00125 | 0.00125 | 0.00125 | 0.00125 | 0.00125 | 0.00125 | 0.00125 | 0.00125
Standard6 | 0.000625 | 0.000625 | 0.000625 | 0.000625 | 0.000625 | 0.000625 | 0.000625 | 0.000625 | 0.000625 | 0.000625 | 0.000625
Standard7 | 0.0003125 | 0.0003125 | 0.0003125 | 0.0003125 | 0.0003125 | 0.0003125 | 0.0003125 | 0.0003125 | 0.0003125 | 0.0003125 | 0.0003125
Standard8 | 0.00015625 | 0.00015625 | 0.00015625 | 0.00015625 | 0.00015625 | 0.00015625 | 0.00015625 | 0.00015625 | 0.00015625 | 0.00015625 | 0.00015625
Standard9 | 7.8125e-05 | 7.8125e-05 | 7.8125e-05 | 7.8125e-05 | 7.8125e-05 | 7.8125e-05 | 7.8125e-05 | 7.8125e-05 | 7.8125e-05 | 7.8125e-05 | 7.8125e-05
DataType: | Control Expected Concentration
Reagent | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
Control1 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
DataType: | Control Range - Low
Reagent | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
Control1 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025
DataType: | Control Range - High
Reagent | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
Control1 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
DataType: | Per Bead Count
Analyte: | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
BeadID: | 21 | 26 | 28 | 45 | 46 | 57 | 62 | 65 | 66 | 77 | 78
Per Bead: | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
DataType: | Dilution Factor
Location | Sample | Dilution Factor
1(1,A1) | Background0
2(1,A2) | Control1 | 1
3(1,A3) | S1
4(1,A4) | S2
5(1,A5) | S3
6(1,A6) | S4
7(1,A7) | S5
8(1,A8) | S6
9(1,A9) | S7
10(1,A10) | S8
11(1,A11) | S9
12(1,A12) | S10
13(1,B1) | Background0
14(1,B2) | Unknown1 | 1
15(1,B3) | Unknown2 | 1
16(1,B4) | Unknown3 | 1
17(1,B5) | Unknown4 | 1
18(1,B6) | Unknown5 | 1
19(1,B7) | Unknown6 | 1
20(1,B8) | Unknown7 | 1
21(1,B9) | Unknown8 | 1
22(1,B10) | Unknown9 | 1
23(1,B11) | Unknown10 | 1
24(1,B12) | Unknown11 | 1
25(1,C1) | Unknown12 | 1
26(1,C2) | Unknown13 | 1
27(1,C3) | Unknown14 | 1
28(1,C4) | Unknown15 | 1
29(1,C5) | Unknown16 | 1
30(1,C6) | Unknown17 | 1
31(1,C7) | Unknown18 | 1
32(1,C8) | Unknown19 | 1
33(1,C9) | Unknown20 | 1
34(1,C10) | Unknown21 | 1
35(1,C11) | Unknown22 | 1
36(1,C12) | Unknown23 | 1
37(1,D1) | Unknown24 | 1
38(1,D2) | Unknown25 | 1
39(1,D3) | Unknown26 | 1
40(1,D4) | Unknown27 | 1
41(1,D5) | Unknown28 | 1
42(1,D6) | Unknown29 | 1
43(1,D7) | Unknown30 | 1
44(1,D8) | Unknown31 | 1
45(1,D9) | Unknown32 | 1
46(1,D10) | Unknown33 | 1
47(1,D11) | Unknown34 | 1
48(1,D12) | Unknown35 | 1
49(1,E1) | Unknown36 | 1
50(1,E2) | Unknown37 | 1
51(1,E3) | Unknown38 | 1
52(1,E4) | Unknown39 | 1
53(1,E5) | Unknown40 | 1
54(1,E6) | Unknown41 | 1
55(1,E7) | Unknown42 | 1
56(1,E8) | Unknown43 | 1
57(1,E9) | Unknown44 | 1
58(1,E10) | Unknown45 | 1
59(1,E11) | Unknown46 | 1
60(1,E12) | Unknown47 | 1
61(1,F1) | Unknown48 | 1
62(1,F2) | Unknown49 | 1
63(1,F3) | Unknown50 | 1
64(1,F4) | Unknown51 | 1
65(1,F5) | Unknown52 | 1
66(1,F6) | Unknown53 | 1
67(1,F7) | Unknown54 | 1
68(1,F8) | Unknown55 | 1
69(1,F9) | Unknown56 | 1
70(1,F10) | Unknown57 | 1
71(1,F11) | Unknown58 | 1
72(1,F12) | Unknown59 | 1
73(1,G1) | Unknown60 | 1
74(1,G2) | Unknown61 | 1
75(1,G3) | Unknown62 | 1
76(1,G4) | Unknown63 | 1
77(1,G5) | Unknown64 | 1
78(1,G6) | Unknown65 | 1
79(1,G7) | Unknown66 | 1
80(1,G8) | Unknown67 | 1
81(1,G9) | Unknown68 | 1
82(1,G10) | Unknown69 | 1
83(1,G11) | Unknown70 | 1
84(1,G12) | Unknown71 | 1
85(1,H1) | Unknown72 | 1
86(1,H2) | Unknown73 | 1
87(1,H3) | Unknown74 | 1
88(1,H4) | Unknown75 | 1
89(1,H5) | Unknown76 | 1
90(1,H6) | Unknown77 | 1
91(1,H7) | Unknown78 | 1
92(1,H8) | Unknown79 | 1
93(1,H9) | Unknown80 | 1
94(1,H10) | Unknown81 | 1
95(1,H11) | Unknown82 | 1
96(1,H12) | Unknown83 | 1
DataType: | Analysis Types
Analyte: | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
AnalysisType | Logistic 5P Weighted | Logistic 5P Weighted | Logistic 5P Weighted | Logistic 5P Weighted | Logistic 5P Weighted | Logistic 5P Weighted | Logistic 5P Weighted | Logistic 5P Weighted | Logistic 5P Weighted | Logistic 5P Weighted | Logistic 5P Weighted
DataType: | Analysis Coefficients
Analyte: | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
Coefficient A | 1.456 | 4.5189 | 0.41215 | 7.7397 | -2.4008 | 3.8539 | 0.12023 | 1.4123 | -13.9954 | -1.5235 | -1.3793
Coefficient B | 4107.1966 | 27900.8254 | 88385.9755 | 188543.8397 | 14701.1431 | 13660.6532 | 23893.9611 | 7771.014 | 12237.2114 | 72952191.7684 | 26145.1843
Coefficient C | 0.0889 | 0.041578 | 0.027372 | 0.00010524 | 0.0010308 | 0.010346 | 0.0058691 | 3.6851e-10 | 0.0062283 | 183.4082 | 0.023359
Coefficient D | -1.0726 | -0.72732 | -0.36313 | -0.19365 | -0.78323 | -0.82914 | -0.68478 | -0.21047 | -0.68944 | -0.24313 | -0.77229
Coefficient F | 0.98143 | 1.4308 | 3.494 | 11.4045 | 1.467 | 1.3651 | 1.7113 | 147.415 | 1.426 | 4.2208 | 1.3251
DataType: | R^2
Analyte: | IVB-Vict_21 | Tetox_26 | CS1H-NA_28 | CS2H-NA_45 | CNPH-Ac_46 | CRBDH-WT_57 | CSpike H_62 | NL63NPEc_65 | OC43_66 | 229ES1H_77 | HKU1Spike_78
Value | 0.99048 | 0.99873 | 0.99972 | 0.99903 | 0.9981 | 0.99831 | 0.99887 | 0.88619 | 0.99814 | 0.99766 | 0.99898
DataType: | Audit Logs
UserId | Date | Message
DataType: | Warnings/Errors
Location | Status | Message
1,B11 | Warning | The acquisition had at least one region that did not reach the specified count.
1,C8 | Warning | The acquisition had at least one region that did not reach the specified count.
1,C12 | Warning | The acquisition had at least one region that did not reach the specified count.
1,D6 | Warning | The acquisition had at least one region that did not reach the specified count.
1,D7 | Warning | The acquisition had at least one region that did not reach the specified count.
1,D10 | Warning | The acquisition had at least one region that did not reach the specified count.
1,D12 | Warning | The acquisition had at least one region that did not reach the specified count.
1,E8 | Warning | The acquisition had at least one region that did not reach the specified count.
1,E10 | Warning | The acquisition had at least one region that did not reach the specified count.
1,E12 | Warning | The acquisition had at least one region that did not reach the specified count.
1,F9 | Warning | The acquisition had at least one region that did not reach the specified count.
1,F10 | Warning | The acquisition had at least one region that did not reach the specified count.
1,F12 | Warning | The acquisition had at least one region that did not reach the specified count.
1,G11 | Warning | The acquisition had at least one region that did not reach the specified count.
1,H12 | Warning | The acquisition had at least one region that did not reach the specified count.
-- CRC --
CRC32: BDEC8869